## DID NOT LIST
WMA | Assessment Number | HUC14 | Assessment Unit Name | Parameter | newlocid | Number of Samples | Number of Exceedances | History Notes
7 | 02030104050090-01 | HUC02030104050090 | Rahway R SB | ARSENIC | 01396023 | 8 | 6 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
8 | 02030105010010-01 | HUC02030105010010 | Drakes Brook (above Eyland Ave) | ARSENIC | 01396137 | 7 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
8 | 02030105010020-01 | HUC02030105010020 | Drakes Brook (below Eyland Ave) | ARSENIC | 01396162 | 8 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
8 | 02030105050070-01 | HUC02030105050070 | Lamington R(HallsBrRd-Herzog Brk) | ARSENIC | 01399528 | 8 | 4 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
10 | 02030105090010-01 | HUC02030105090010 | Stony Bk (above 74d 49m 15s) | ARSENIC | 01400842 | 7 | 7 | 6 of 7 exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
10 | 02030105110050-01 | HUC02030105110050 | Beden Brook (below Province Line Rd) | ARSENIC | 01401533 | 7 | 5 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
10 | 02030105110160-01 | HUC02030105110160 | Royce Brook (below/incl Branch Royce Bk) | ARSENIC | 01402730 | 5 | 4 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
10 | 02030105110160-01 | HUC02030105110160 | Royce Brook (below/incl Branch Royce Bk) | ARSENIC | 01402730 | 5 | 4 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105150060-01 | HUC02030105150060 | Matchaponix Brook (below Pine Brook) | ARSENIC | 01405302 | 5 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105150060-01 | HUC02030105150060 | Matchaponix Brook (below Pine Brook) | ARSENIC | 01405302 | 5 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105120120-01 | HUC02030105120120 | Ambrose Brook (below Lake Nelson) | ARSENIC | AN0425A | 5 | 4 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105160050-01 | HUC02030105160050 | Tennent Brook (below 74d 19m 05s) | ARSENIC | BFBM000231 | 4 | 3 | 2 of 3 exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
8 | 02030105010060-01 | HUC02030105010060 | Raritan R SB (Califon br to Long Valley) | ARSENIC | SBR4 | 5 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
8 | 02030105010040-01 | HUC02030105010040 | Raritan R SB(74d 44m 15s to Rt 46) | BIOLOGICAL-CAUSE UNKNOWN | AN0310 | 4 | 4 | Close to lake outlet, index not applicable
10 | 02030105100040-01 | HUC02030105100040 | Rocky Brook (above Monmouth Co line) | BIOLOGICAL-CAUSE UNKNOWN | AN0380 | 4 | 4 | Immediately downstream of lake, index not applicable
10 | 02030105100050-01 | HUC02030105100050 | Rocky Brook (below Monmouth Co line) | BIOLOGICAL-CAUSE UNKNOWN | AN0381 | 4 | 4 | Immediately downstream of lake, index not applicable
10 | 02030105100090-01 | HUC02030105100090 | Cranbury Brook (below Turnpike) | BIOLOGICAL-CAUSE UNKNOWN | AN0386 | 4 | 4 | Immediately downstream of lake, index not applicable
10 | 02030105110030-01 | HUC02030105110030 | Millstone R (Beden Bk to Heathcote Bk) | BIOLOGICAL-CAUSE UNKNOWN | AN0397 | 4 | 4 | Immediately downstream of lake, index not applicable
9 | 02030105120060-01 | HUC02030105120060 | Middle Brook WB | BIOLOGICAL-CAUSE UNKNOWN | AN0417 | 4 | 4 | Immediately downstream of lake, index not applicable
9 | 02030105160050-01 | HUC02030105160050 | Tennent Brook (below 74d 19m 05s) | BIOLOGICAL-CAUSE UNKNOWN | AN0455 | 4 | 4 | Tidal Site, Station was removed
8 | 02030105060040-01 | HUC02030105060040 | Raritan R NB (Peapack Bk to McVickers Bk) | BIOLOGICAL-CAUSE UNKNOWN | NB06 | 4 | 4 | Immediately downstream of lake, index not applicable
8 | 02030105020100-01 | HUC02030105020100 | Raritan R SB(Three Bridges-Prescott Bk) | BIOLOGICAL-CAUSE UNKNOWN | SB06 | 6 | 1 | 5 of 6 yrs full support
8 | 02030105040010-01 | HUC02030105040010 | Raritan R SB(Pleasant Run-Three Bridges) | BIOLOGICAL-CAUSE UNKNOWN | SB07 | 6 | 1 | 5 of 6 yrs full support
8 | 02030105010060-01 | HUC02030105010060 | Raritan R SB (Califon br to Long Valley) | BIOLOGICAL-CAUSE UNKNOWN | SB13 | 6 | 1 | 5 of 6 yrs full support
8 | 02030105020100-01 | HUC02030105020100 | Raritan R SB(Three Bridges-Prescott Bk) | BIOLOGICAL-CAUSE UNKNOWN | SB14 | 6 | 1 | 5 of 6 yrs full support
6 | 02030103020100-01 | HUC02030103020100 | Whippany R (Rockaway R to Malapardis Bk) | CHLORIDE | 01381800 | 22 | 5 | 5 of 22 samples exceed, 2/14/15, 2/12/14, 2/7/13 winter storms, borderline, did not change in 2016
6 | 02030103040010-01 | HUC02030103040010 | Passaic R Upr (Pompton R to Pine Bk) | CHLORIDE | 01382000 | 22 | 2 | 2 of 22 samples exceed, borderline, did not change in 2016
3 | 02030103110010-01 | HUC02030103110010 | Lincoln Park tribs (Pompton River) | CHLORIDE | 01388720 | 22 | 2 | 2 of 22 samples exceed, 2/12/13 winter storm
4 | 02030103120110-01 | HUC02030103120110 | Passaic R Lwr (Goffle Bk to pump stn) | CHLORIDE | 01389500 | 22 | 2 | 2 of 22 samples exceed, 2/24/10 winter storm
4 | 02030103140060-01 | HUC02030103140060 | Saddle R (Lodi gage to Rt 4) | CHLORIDE | 01391500 | 54 | 3 | 3 of 54 samples over 10 yrs exceed, 2/11/14, 3/10/05 winter storm, did not list in 2016
7 | 02030104050040-01 | HUC02030104050040 | Rahway R (Kenilworth Blvd to EB / WB) | CHLORIDE | 01394500 | 19 | 5 | 5 of 19 samples exceed, 2/23/10, 2/23/11, 2/4/15 winter storms, borderline, do not list, all exceedances occur only in winter
7 | 02030104050060-01 | HUC02030104050060 | Rahway R(Robinsons Br to KenilworthBlvd) | CHLORIDE | 01395000 | 38 | 6 | 6 of 38 samples exceed in 10 yrs, Winter storms 2/3/09, 2/6/14, 2/12/15, borderline, did not list in 2016
8 | 02030105030060-01 | HUC02030105030060 | Neshanic River(Black Brk to FN/SN confl) | CHLORIDE | 01398000 | 43 | 3 | 3 of 43 samples exceed, winter storms 2/4/14, 2/16/10, 2-27/07
10 | 02030105110010-01 | HUC02030105110010 | Heathcote Brook | CHLORIDE | 01401400 | 33 | 4 | 4 of 33 samples exceed, winter storms 2/5/09, 2/8/10, 2/4/14, 2/11/15
9 | 02030105120100-01 | HUC02030105120100 | Bound Brook (below fork at 74d 25m 15s) | CHLORIDE | 01403385 | 39 | 4 | 4 of 39 samples exceed, winter storms 2/7/07, 2/11/13, 2/19/14, 2/12/15
12 | 02030104090050-01 | HUC02030104090050 | Jumping Brook (Ocean Co) | CHLORIDE | 01407760 | 41 | 4 | 4 of 41 samples exceed, winter storms 2/14/07, 2/22/10, 2/25/15
3 | 02030103050050-01 | HUC02030103050050 | Pequannock R (Charlotteburg to OakRidge) | DISSOLVED OXYGEN | 01382310 | 29 | 4 | 4 of 29 exceed over 10 yrs
7 | 02030104020020-01 | HUC02030104020020 | Elizabeth R (Elizabeth CORP BDY to I-78) | DISSOLVED OXYGEN | 01393450 | 28 | 2 | Last exceedance in 2005
7 | 02030104050060-01 | HUC02030104050060 | Rahway R(Robinsons Br to KenilworthBlvd) | DISSOLVED OXYGEN | 01395000 | 54 | 2 | Very low exceedance rate, 2 of 54 samples exceed
9 | 02030105130060-01 | HUC02030105130060 | Lawrence Bk (Milltown to Church Lane) | DISSOLVED OXYGEN | 01405003 | 39 | 2 | Diurnal Data in 2009 shows full attainment
9 | 02030105160070-01 | HUC02030105160070 | South R (below Duhernal Lake) | DISSOLVED OXYGEN | 01406580 | 27 | 1 | 2 exceedances on 8/11/14 & 8/14/14 counted as 1 event
10 | 02030105110110-01 | HUC02030105110110 | Millstone R (BlackwellsMills to BedenBk) | DISSOLVED OXYGEN | 01460530 | 32 | 2 | No exceedances last 5 years
19 | 02040202030070-01 | HUC02040202030070 | McDonalds Branch | DISSOLVED OXYGEN | 01466500 | 79 | 38 | Location in State Park with no anthropogenic sources. Water here is spring-fed resulting in naturally low DO
13 | 02040301020020-01 | HUC02040301020020 | Metedeconk R NB (confluence to Rt 9) | DISSOLVED OXYGEN | NF | 336 | 4 | Extremely low exceedance rate, 4 of 336 samples exceed
4 | 02030103150040-01 | HUC02030103150040 | Passaic R Lwr (4th St br to Second R) | DISSOLVED OXYGEN | NJHDG-11 | 281 | 3 | Extremely low exceedance rate, 3 of 281 samples exceed
9 | 02030105120130-01 | HUC02030105120130 | Green Brook (below Bound Brook) | DISSOLVED OXYGEN | NJHDG-25 | 192 | 4 | 3 exceed during summer of 2010, last 35 samples full attain, 01403900 upstream full attain
9 | 02030105120170-01 | HUC02030105120170 | Raritan R Lwr (Lawrence Bk to Mile Run) | DISSOLVED OXYGEN | NJHDG-26 | 130 | 2 | Very low exceedance rate, 2 of 130 samples exceed
9 | 02030105160100-01 | HUC02030105160100 | Raritan R Lwr (below Lawrence Bk) | DISSOLVED OXYGEN | NJHDG-27 | 65 | 2 | 2 exceedances of 65 samples, near wetlands, upstream and downstream fully meeting
5 | 02030101170030-01 | HUC02030101170030 | Hudson River (lower) | DISSOLVED OXYGEN | NJHDG-31 | 70 | 2 | Low exceedance rate, 2 of 70 samples exceed
5 | 02030101170030-01 | HUC02030101170030 | Hudson River (lower) | DISSOLVED OXYGEN | NJHDG-32 | 391 | 6 | Low exceedance rate, 4 of 391 samples exceed, two exceedances on same day
5 | 02030101170030-01 | HUC02030101170030 | Hudson River (lower) | DISSOLVED OXYGEN | NJHDG-33 | 396 | 3 | Extremely low exceedance rate, 3 of 396 samples exceed
4 | 02030103150030-01 | HUC02030103150030 | Passaic R Lwr (Second R to Saddle R) | DISSOLVED OXYGEN | NJHDG-8 | 274 | 5 | Extremely low exceedance rate, 5 of 274 samples exceed
2 | 02020007040010-01 | HUC02020007040010 | Black Ck(above/incl G.Gorge Resort trib) | DISSOLVED OXYGEN | NJW04459-023 | 3 | 3 | Surface samples full attain, only bottom samples show exceedances
10 | 02030105100050-01 | HUC02030105100050 | Rocky Brook (below Monmouth Co line) | DISSOLVED OXYGEN | NJW04459-024 | 12 | 3 | Surface samples full attain, only bottom samples show exceedances
8 | 02030105070010-01 | HUC02030105070010 | Raritan R NB (Rt 28 to Lamington R) | DISSOLVED OXYGEN | NJW04459-040 | 10 | 3 | Surface samples full attain, only bottom samples show exceedances
9 | 02030105130050-01 | HUC02030105130050 | Lawrence Bk (Church Lane to Deans Pond) | DISSOLVED OXYGEN | NJW04459-060 | 16 | 2 | Surface samples full attain, only bottom samples show exceedances
3 | 02030103050060-01 | HUC02030103050060 | Pequannock R(Macopin gage to Charl'brg) | DISSOLVED OXYGEN | NJW04459-072 | 3 | 3 | Surface samples full attain, only bottom samples show exceedances
9 | 02030105130070-01 | HUC02030105130070 | Lawrence Bk (below Milltown/Herberts br) | DISSOLVED OXYGEN | NJW04459-138 | 16 | 4 | Surface samples full attain, only bottom samples show exceedances
10 | 02030105110170-01 | HUC02030105110170 | Millstone R (below Amwell Rd) | DISSOLVED OXYGEN | NJW04459-257 | 13 | 3 | Surface samples full attain, only bottom samples show exceedances
13 | 02040301020010-01 | HUC02040301020010 | Metedeconk R NB(above I-195) | DISSOLVED OXYGEN | NM | 193 | 4 | Extremely low exceedance rate, 4 of 193 samples exceed
13 | 02040301020010-01 | HUC02040301020010 | Metedeconk R NB(above I-195) | DISSOLVED OXYGEN | NN | 39 | 2 | Last 5 yrs all samples are fully supporting
13 | 02040301020010-01 | HUC02040301020010 | Metedeconk R NB(above I-195) | DISSOLVED OXYGEN | NP | 48 | 3 | Low exceedance rate, Station NK should not have trumped this site because this site has newer data
12 | 02030104080020-01 | HUC02030104080020 | Parkers Creek / Oceanport Creek | DISSOLVED OXYGEN | R04 | 54 | 6 | In a cove, DO upstream/downstream full attain, deminimus
14 | 02040301200060-01 | HUC02040301200060 | Bass R (below WB / EB) | DISSOLVED OXYGEN | R24 | 21 | 2 | Downstream R25 (1 of 25 exceeds), upstream Absegami Lake and Pilgrim Lake full attain, need diurnal data, next to marina
17 | 02040206090100-01 | HUC02040206090100 | Cohansey R (below Greenwich) | DISSOLVED OXYGEN | R48 | 21 | 2 | One exceedance within analytical precision out of 2 exceedances
13 | 02040301030030-01 | HUC02040301030030 | Metedeconk R SB(BennettsPd to 74d19m15s) | DISSOLVED OXYGEN | SI | 344 | 6 | Extremely low exceedance rate, 6 of 344 samples exceed
1 | 02040105150020-01 | HUC02040105150020 | Musconetcong River (above Trout Brook) | DISSOLVED OXYGEN | ST-3 | 56 | 3 | Surface samples full attain, exceedances occurring with bottom samples. Located in an enclosed cove
4 | 02030103150010-01 | HUC02030103150010 | Third River | ENTEROCOCCUS | FBP-01 Thru FBP-10 | 138 | 1 (geomean) | Enterococcus geomean exceeds at all 10 stations, however, this is an SE2 stream and fecal coliform for secondary recreation is the indicator.
12 | 02030104910020-01 | HUC02030104910020 | Sandy Hook Bay (east of Thorns Ck) | ENTEROCOCCUS | NPS_SH-1 | 63 | 3 | Very localized in enclosed cove, no apparent sources in park, deminimus, source trackdown candidate
12 | 02030104910020-01 | HUC02030104910020 | Sandy Hook Bay (east of Thorns Ck) | ENTEROCOCCUS | NPS_SH-2 | 63 | 2 | Very localized in enclosed cove, no apparent sources in park, deminimus, source trackdown candidate
5 | 02030101170020-01 | HUC02030101170020 | Sparkill Brook | ENTEROCOCCUS | SPC-10, SPC-11 | 30 | 1 (geomean) | Enterococcus geomean exceeds at both stations, however, this is an FW2 stream and e.coli is the pathogen indicator for primary recreational use.
10 | 02030105110070-01 | HUC02030105110070 | Rock Brook (below Camp Meeting Ave) | ESCHERICHIA COLI (E. COLI) | 01401595 | 10 | 1 (geomean) | 1 year geomean exceeds, need more data
12 | 02030104100010-01 | HUC02030104100010 | Manasquan R (above 74d17m50s road) | ESCHERICHIA COLI (E. COLI) | 01407821 | 15 | 1 (geomean) | 2014 showed 1st geomean exceed, need more data, colocated with MCHD-92 that is full attain
12 | 02030104060030-01 | HUC02030104060030 | Matawan Creek (below Ravine Drive) | ESCHERICHIA COLI (E. COLI) | MCHD-20 | 10 | 1 (geomean) | 1 year geomean exceeds, need more data
13 | 02040301020030-01 | HUC02040301020030 | Haystack Brook | ESCHERICHIA COLI (E. COLI) | MCHD-67 | 21 | 1 (geomean) | 1 year geomean exceeds, need more data
13 | 02040301030050-01 | HUC02040301030050 | Metedeconk R SB (confluence to Rt 9) | ESCHERICHIA COLI (E. COLI) | SB1 | 225 | 1 (geomean) | Seasonal geomean full attain
13 | 02040301030040-01 | HUC02040301030040 | Metedeconk R SB (Rt 9 to Bennetts Pond) | ESCHERICHIA COLI (E. COLI) | SE | 256 | 1 (geomean) | Only 1 of last 5 yrs geomean exceeds
13 | 02040301030020-01 | HUC02040301030020 | Metedeconk R SB (74d19m15s to I-195 X21) | ESCHERICHIA COLI (E. COLI) | SK | 222 | 1 (geomean) | Seasonal geomean full attain
2 | 02020007010030-01 | HUC02020007010030 | Franklin Pond Creek | MERCURY IN WATER COLUMN | 01367693 | 8 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
8 | 02030105050040-01 | HUC02030105050040 | Lamington R(Pottersville gage-FurnaceRd) | MERCURY IN WATER COLUMN | 01399320 | 13 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
10 | 02030105090050-01 | HUC02030105090050 | Stony Bk (Province Line Rd to 74d46m dam) | MERCURY IN WATER COLUMN | 01401000 | 15 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105120050-01 | HUC02030105120050 | Middle Brook EB | MERCURY IN WATER COLUMN | 01403075 | 14 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105120160-01 | HUC02030105120160 | Raritan R Lwr (MileRun to I-287 Pisctwy) | MERCURY IN WATER COLUMN | 01404170 | 13 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105130060-01 | HUC02030105130060 | Lawrence Bk (Milltown to Church Lane) | MERCURY IN WATER COLUMN | 01405003 | 18 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
9 | 02030105160030-01 | HUC02030105160030 | Duhernal Lake / Iresick Brook | MERCURY IN WATER COLUMN | 01405470 | 10 | 2 | All exceedances 'estimated',do not list since there is less than 2 confirmed exceedances of the criteria.
12 | 02030104070030-01 | HUC02030104070030 | Big Brook | MERCURY IN WATER COLUMN | 01407320 | 13 | 2 | 1 exceed, 1 estimated, 10 samples meet criteria since 2005, 01407280 upstream all 4 samples meet, stations in adjacent HUCs full attain
12 | 02030104090040-01 | HUC02030104090040 | Shark R (above Remsen Mill gage) | MERCURY IN WATER COLUMN | 01407670 | 14 | 3 | 2 of 3 exceedances 'estimated'; do not list since there is less than 2 confirmed exceedances of the criteria.
12 | 02030104100020-01 | HUC02030104100020 | Manasquan R (Rt 9 to 74d17m50s road) | MERCURY IN WATER COLUMN | 01407862 | 10 | 3 | 2 of 3 exceedances 'estimated'; do not list since there is less than 2 confirmed exceedances of the criteria.
12 | 02030104100080-01 | HUC02030104100080 | Manasquan R (74d07m30s to Squankum gage) | MERCURY IN WATER COLUMN | 0140802850 | 14 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301030040-01 | HUC02040301030040 | Metedeconk R SB (Rt 9 to Bennetts Pond) | MERCURY IN WATER COLUMN | 01408136 | 19 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301050020-01 | HUC02040301050020 | Kettle Creek (below Lake Riviera outlet) | MERCURY IN WATER COLUMN | 01408175 | 18 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301060020-01 | HUC02040301060020 | Toms R (74-22-30 rd to FrancisMills) | MERCURY IN WATER COLUMN | 01408260 | 18 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301070040-01 | HUC02040301070040 | Ridgeway Br (below Hope Chapel Rd) | MERCURY IN WATER COLUMN | 01408492 | 18 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301090010-01 | HUC02040301090010 | Webbs Mill Branch | MERCURY IN WATER COLUMN | 01408800 | 10 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301140020-01 | HUC02040301140020 | Mill Branch (below GS Parkway) | MERCURY IN WATER COLUMN | 01409305 | 18 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
14 | 02040301160140-01 | HUC02040301160140 | Mullica R (39d40m30s to Rt 206) | MERCURY IN WATER COLUMN | 0140940050 | 13 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
14 | 02040301150040-01 | HUC02040301150040 | Springers Brook / Deep Run | MERCURY IN WATER COLUMN | 01409455 | 14 | 4 | 2 exceed, 2 estimated. Almost completely forested, cranberry bogs. Need more data
14 | 02040301190050-01 | HUC02040301190050 | Wading R WB (Jenkins Rd to Rt 563) | MERCURY IN WATER COLUMN | 01409790 | 14 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
14 | 02040301180010-01 | HUC02040301180010 | Oswego R (Sim Place Resv to Rt 539) | MERCURY IN WATER COLUMN | 01409880 | 18 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
14 | 02040301200110-01 | HUC02040301200110 | Mattix Run (Nacote Creek) | MERCURY IN WATER COLUMN | 01410230 | 13 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
15 | 02040302030060-01 | HUC02040302030060 | GEHR (Piney Hollow Rd to Broad Lane rd) | MERCURY IN WATER COLUMN | 01410820 | 22 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
15 | 02040302050080-01 | HUC02040302050080 | Stephen Creek (GEHR) | MERCURY IN WATER COLUMN | 01411230 | 14 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
10 | 02030105110110-01 | HUC02030105110110 | Millstone R (BlackwellsMills to BedenBk) | MERCURY IN WATER COLUMN | 01460530 | 14 | 4 | 3 of 4 exceedances 'estimated'; do not list since there is less than 2 confirmed exceedances of the criteria.
20 | 02040201100020-01 | HUC02040201100020 | Barkers Brook (above 40d02m30s) | MERCURY IN WATER COLUMN | 01464583 | 18 | 2 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
18 | 02040202150040-01 | HUC02040202150040 | Raccoon Ck (Russell Mill Rd to Rt 45) | MERCURY IN WATER COLUMN | 01477125 | 8 | 2 | 1 exceed, 1 estimated; do not list since there is less than 2 confirmed exceedances of the criteria.
17 | 02040206060040-01 | HUC02040206060040 | Deep Run (Alloway) | MERCURY IN WATER COLUMN | 01483010 | 18 | 2 | 2 exceed in 2007, 12 samples since then very low levels
13 | 02040301020050-01 | HUC02040301020050 | Metedeconk R NB (confluence to Rt 9) | MERCURY IN WATER COLUMN | BT01 | 11 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301020050-01 | HUC02040301020050 | Metedeconk R NB (confluence to Rt 9) | MERCURY IN WATER COLUMN | BTNA | 478 | 2 | only 2 of 478 samples exceed, all others non detect
13 | 02040301020040-01 | HUC02040301020040 | Muddy Ford Brook | MERCURY IN WATER COLUMN | MF-1 | 21 | 21 | Used wrong units previously picograms instead of micrograms
13 | 02040301050010-01 | HUC02040301050010 | Kettle Creek (below Lake Riviera outlet) | MERCURY IN WATER COLUMN | R09 | 8 | 3 | All exceedances 'estimated', do not list since there is less than 2 confirmed exceedances of the criteria.
13 | 02040301030050-01 | HUC02040301030050 | Metedeconk R SB (confluence to Rt 9) | MERCURY IN WATER COLUMN | SA | 482 | 2 | HH lower than MDL, Only 1 exceedance, all other sample non detect
9 | 02030105120160-01 | HUC02030105120160 | Raritan R Lwr(I-287 Piscatway-Millstone) | NITRATE | 01403300 | 385 | 52 | Mistake, used Nitrogen as NO3 instead of N. No exceedances
9 | 02030105120130-01 | HUC02030105120130 | Green Brook (below Bound Brook) | NITRATE | NJHDG-25 | 206 | 3 | Very low exceedance rate, 3 of 206 exceed
10 | 02030105100060-01 | HUC02030105100060 | Millstone R (Cranbury Bk to Rocky Bk) | PH | 01400650 | 74 | 7 | 6 of 7 exceedances are within precision of instrument. UMR3 downstream has diurnal data showing full support
10 | 02030105090050-01 | HUC02030105090050 | Stony Bk (Province Line Rd to 74d46m dam) | PH | 01401000 | 26 | 2 | Nearby station full attain upstream, do not list
10 | 02030105110010-01 | HUC02030105110010 | Heathcote Brook | PH | 01401400 | 61 | 8 | Last 5 years show 20 of 21 samples meet criteria
10 | 02030105110130-01 | HUC02030105110130 | Sixmile Run (below Middlebush Rd) | PH | 01401900 | 21 | 2 | Exceedances show one exceeding the high criteria and one exceeding the low criteria
9 | 02030105140020-01 | HUC02030105140020 | Manalapan Bk(incl LkManlpn to 40d16m15s) | PH | 01405340 | 73 | 3 | Low exceedance rate, 3 of 73 samples exceed
9 | 02030105160070-01 | HUC02030105160070 | South R (below Duhernal Lake) | PH | 01406580 | 15 | 2 | Only 1 of 10 samples exceed over 5 yrs, upstream no exceedances
12 | 02030104100030-01 | HUC02030104100030 | Manasquan R (West Farms Rd to Rt 9) | PH | 01408000 | 42 | 2 | Low exceedance rate, 2 of 42 exceed
13 | 02040301090030-01 | HUC02040301090030 | Cedar Creek (74-16-38 to Chamberlain Br) | PH | 01408830 | 65 | 2 | Low exceedance rate in last 10 years, 2 of 65 samples exceed
13 | 02040301120010-01 | HUC02040301120010 | Waretown Creek / Lochiel Creek | PH | 01409108 | 19 | 19 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301130040-01 | HUC02040301130040 | Cedar Run | PH | 01409255 | 38 | 37 | Impacted by Pinelands, pH low (see Appendix D)
13 | 02040301140020-01 | HUC02040301140020 | Mill Branch (below GS Parkway) | PH | 01409305 | 19 | 6 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
14 | 02040301160030-01 | HUC02040301160030 | Mullica River (Rt 206 to Jackson Road) | PH | 01409387 | 104 | 6 | Only 1 of 27 samples exceed in last 5 yrs
14 | 02040301200110-01 | HUC02040301200110 | Mattix Run (Nacote Creek) | PH | 01410230 | 15 | 7 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
15 | 02040302050050-01 | HUC02040302050050 | Gravelly Run (above Gravelly Run road) | PH | 01411208 | 31 | 20 | Impacted by Pinelands, pH low (see Appendix D)
15 | 02040302070040-01 | HUC02040302070040 | Tuckahoe R (Rt 49 to 39d19m52s) | PH | 01411300 | 33 | 6 | HUC this is associated with is SJ criteria and Pinelands influenced
17 | 02040206130030-01 | HUC02040206130030 | Indian Branch (Scotland Run) | PH | 01411466 | 36 | 4 | Influenced by Pinelands, pH low (see Appendix D from 2014 IR)
17 | 02040206170050-01 | HUC02040206170050 | Buckshutem Creek (below Rt 555) | PH | 01411955 | 35 | 2 | Low exceedance rate, 2 of 35 samples exceed
1 | 02040104240020-01 | HUC02040104240020 | Dunnfield Creek (incl UDRV) | PH | 01442760 | 77 | 23 | Natural. Limestone Geology, do not list
11 | 02040105230020-01 | HUC02040105230020 | Assunpink Ck (NewSharonBr to/incl Lake) | PH | 01463568 | 46 | 3 | Diurnal data fully support
20 | 02040201050070-01 | HUC02040201050070 | Crosswicks Ck (Doctors Ck-Ellisdale trib) | PH | 01464504 | 90 | 13 | Tidal influenced, pH not applicable
20 | 02040201080020-01 | HUC02040201080020 | Blacks Creek (Bacons Run to 40d06m10s) | PH | 01464527 | 39 | 2 | Low exceedance rate, 2 of 39 samples exceed
19 | 02040202030070-01 | HUC02040202030070 | McDonalds Branch | PH | 01466500 | 247 | 10 | Location in State Park with no sources. Water here is spring-fed resulting in naturally low DO, Non-impacted site. Natural
18 | 02040202150040-01 | HUC02040202150040 | Raccoon Ck (Russell Mill Rd to Rt 45) | PH | 01477120 | 68 | 3 | 3 of 26 samples exceed SJ criteria, 2 within precision, Diurnal data also full attain 2009-2010
13 | BarnegatBay08-01 | BarnegatBay08 | Manahawkan Bay and Upper Little Egg Harbor | PH | BB11a | 140 | 2 | Extremely low exceedance rate, 2 of 140 samples exceed
13 | BarnegatBay09-01 | BarnegatBay09 | Lower Little Egg Harbor Bay | PH | BB13 | 208 | 2 | Extremely low exceedance rate, 4 of 208 samples exceed
13 | BarnegatBay09-01 | BarnegatBay09 | Lower Little Egg Harbor Bay | PH | BB14 | 296 | 2 | Extremely low exceedance rate, 4 of 296 samples exceed
13 | 02040301080050-01 | HUC02040301080050 | Wrangel Brook (below Michaels Branch) | PH | BT04 | 57 | 15 | Impacted by Pinelands, pH low (see Appendix D)
13 | 02040301090060-01 | HUC02040301090060 | Cedar Creek (below GS Parkway) | PH | BT06 | 19 | 18 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301090060-01 | HUC02040301090060 | Cedar Creek (below GS Parkway) | PH | BT06a | 79 | 75 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301110020-01 | HUC02040301110020 | Forked River NB (below old RR grade) | PH | BT07 | 97 | 38 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301110030-01 | HUC02040301110030 | Forked River (below NB incl Mid/South Br) | PH | BT08 | 40 | 37 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301110030-01 | HUC02040301110030 | Forked River (below NB incl Mid/South Br) | PH | BT09 | 53 | 49 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301110050-01 | HUC02040301110050 | Oyster Creek (below Rt 532) | PH | BT10 | 53 | 49 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301130060-01 | HUC02040301130060 | Westecunk Creek (below GS Parkway) | PH | BT12 | 101 | 38 | Impacted by Pinelands, pH low (see Appendix D from 2014 IR)
13 | 02040301020050-01 | HUC02040301020050 | Metedeconk R NB (confluence to Rt 9) | PH | BTNA | 1857 | 12 | Extremely low exceedance rate, 12 of 1857 samples exceed
13 | 02040301040020-01 | HUC02040301040020 | Metedeconk R (Beaverdam Ck to confl) | PH | INTAKE | 1867 | 69 | Low exceedance rate, 69 of 1867 samples exceed
13 | 02040301020050-01 | HUC02040301020050 | Metedeconk R NB (confluence to Rt 9) | PH | NB | 107 | 3 | Low exceedance rate, 3 of 107 samples exceed
13 | 02040301020050-01 | HUC02040301020050 | Metedeconk R NB (confluence to Rt 9) | PH | ND | 384 | 4 | Very low exceedance rate, 4 of 384 samples exceed
4 | 02030103120110-01 | HUC02030103120110 | Passaic R Lwr (Goffle Bk to pump stn) | PH | NJHDG-1 | 68 | 2 | Low exceedance rate, 2 of 68 samples exceed, both within precision
4 | 02030103150040-01 | HUC02030103150040 | Passaic R Lwr (4th St br to Second R) | PH | NJHDG-11 | 148 | 4 | Very low exceedance rate, 4 of 148 samples exceed
5 | 02030103170060-01 | HUC02030103170060 | Hackensack R (Oradell to OldTappan gage) | PH | NJHDG-13 | 84 | 2 | Very low exceedance rate, 2 of 84 samples exceed
5 | 02030103180090-01 | HUC02030103180090 | Hackensack R (Amtrak bridge to Rt 3) | PH | NJHDG-14 | 412 | 8 | All samples over last 4 yrs meet
5 | 02030103180100-01 | HUC02030103180100 | Hackensack R (below Amtrak bridge) | PH | NJHDG-15 | 240 | 2 | Very low exceedance rate, 2 of 240 samples exceed
5 | 02030103180100-01 | HUC02030103180100 | Hackensack R (below Amtrak bridge) | PH | NJHDG-16 | 240 | 3 | Very low exceedance rate, 3 of 240 samples exceed
7 | 02030104050100-01 | HUC02030104050100 | Rahway River (below Robinsons Branch) | PH | NJHDG-22 | 178 | 6 | Low Exceedance rate, exceedance greater than the high criteria are within precision
7 | 02030104050100-01 | HUC02030104050100 | Rahway River (below Robinsons Branch) | PH | NJHDG-23 | 240 | 2 | Very low exceecance rate, 2 of 240 samples exceed
7 | 02030104050120-01 | HUC02030104050120 | Arthur Kill waterfront (below Grasselli) | PH | NJHDG-24 | 385 | 5 | All 136 samples over last 5 yrs meet
9 | 02030105160100-01 | HUC02030105160100 | Raritan R Lwr (below Lawrence Bk) | PH | NJHDG-27 | 364 | 4 | Very low exceedance rate, 4 of 364 exceed criteria
12 | 02030104910010-01 | HUC02030104910010 | Raritan Bay (deepwater) | PH | NJHDG-29 | 180 | 2 | Very low exceecance rate, 2 of 180 samples exceed
5 | 02030101170030-01 | HUC02030101170030 | Hudson River (lower) | PH | NJHDG-33 | 222 | 3 | Very low exceedance rate, 3 of 222 samples exceed
4 | 02030103140070-01 | HUC02030103140070 | Saddle River (below Lodi gage) | PH | NJHDG-6 | 250 | 7 | Low exceedance rate, 2 exceed low criteria during winter 2011, 3 exceed high criteria, nearby stations show full attain (no exceedances)
4 | 02030103150030-01 | HUC02030103150030 | Passaic R Lwr (Second R to Saddle R) | PH | NJHDG-8 | 89 | 3 | Low exceedance rate, 3 of 89 samples exceed
13 | 02040301020010-01 | HUC02040301020010 | Metedeconk R NB(above I-195) | PH | NM | 193 | 19 | Impacted by Pinelands, pH low (see Appendix D)
14 | 02040301170060-01 | HUC02040301170060 | Mullica R (Lower Bank Rd to Rt 563) | PH | R27 | 22 | 2 | Impacted by Pinelands, pH low (see Appendix D)
14 | 02040301170080-01 | HUC02040301170080 | Mullica River(Turtle Ck to Lower BankRd) | PH | R28 | 22 | 6 | Impacted by Pinelands, pH low (see Appendix D)
15 | 02040302050060-01 | HUC02040302050060 | GEHR (Miry Run to Lake Lenape) | PH | R36 | 22 | 14 | Impacted by Pinelands, pH low (see Appendix D)
15 | 02040302070110-01 | HUC02040302070110 | Tuckahoe R (below Rt 49) | PH | R37 | 22 | 6 | Impacted by Pinelands, pH low (see Appendix D)
17 | 02040206190030-01 | HUC02040206190030 | Manumuskin R (below Rt 49) | PH | R42 | 20 | 6 | Tidal, influenced by waters with South Jersey criteria, not changed in 2016, will look into further in 2018 in comprehensive assessment
17 | 02040206110030-01 | HUC02040206110030 | Oranoaken Creek | PH | R45 | 21 | 2 | Tidal, influenced by waters with South Jersey criteria, not changed in 2016, will look into further in 2018 in comprehensive assessment
8 | 02030105020090-01 | HUC02030105020090 | Prescott Brook / Round Valley Reservior | PH | RV-3 | 68 | 2 | Low exceedance rate, only 2 of 68 samples exceed over 10 yrs
13 | 02040301030050-01 | HUC02040301030050 | Metedeconk R SB (confluence to Rt 9) | PH | SA | 1851 | 13 | Extremely low exceedance rate, 13 of 1851 samples exceed
13 | 02040301030050-01 | HUC02040301030050 | Metedeconk R SB (confluence to Rt 9) | PH | SB1 | 335 | 3 | Extremely low exceedance rate, 3 of 335 samples exceed
13 | 02040301030040-01 | HUC02040301030040 | Metedeconk R SB (Rt 9 to Bennetts Pond) | PH | SF | 126 | 2 | Very low exceedance rate, 2 of 126 samples exceed
13 | 02040301030020-01 | HUC02040301030020 | Metedeconk R SB (74d19m15s to I-195 X21) | PH | SK | 251 | 2 | Very low exceedance rate, 2 of 251 samples exceed
13 | 02040301030010-01 | HUC02040301030010 | Metedeconk R SB (above I-195 exit 21 rd) | PH | SL | 343 | 29 | Impacted by Pinelands, pH low (see Appendix D)
1 | 02040105150020-01 | HUC02040105150020 | Musconetcong River (above Trout Brook) | PH | ST-2 | 262 | 2 | Extremely low exceedance rate, 2 of 262 samples exceed
1 | 02040105150020-01 | HUC02040105150020 | Musconetcong River (above Trout Brook) | PH | ST-4 | 73 | 2 | Low exceedance rate, 2 of 73 samples exceed
1 | 02040105150020-01 | HUC02040105150020 | Musconetcong River (above Trout Brook) | PH | ST-5 | 74 | 3 | Very low exceedance rate, 3 of 74 samples exceed
1 | 02040105150020-01 | HUC02040105150020 | Musconetcong River (above Trout Brook) | PH | ST-9 | 158 | 2 | Very low exceedance rate, 2 of 158 samples exceed
8 | 02030105010070-01 | HUC02030105010070 | Raritan R SB(StoneMill gage to Califon) | PHOSPHORUS, TOTAL | 01396350 | 24 | 2 | 2 exceedances in 2009 only, exceedance questionable, magnitudes higher than other samples
8 | 02030105050040-01 | HUC02030105050040 | Lamington R(Pottersville gage-FurnaceRd) | PHOSPHORUS, TOTAL | 01399320 | 25 | 4 | One excursion during drought and 1 within analytical precision
8 | 02030105070030-01 | HUC02030105070030 | Raritan R NB (below Rt 28) | PHOSPHORUS, TOTAL | 01400000 | 43 | 2 | Low exceedance rate, 2 of 43 samples exceed
10 | 02030105110010-01 | HUC02030105110010 | Heathcote Brook | PHOSPHORUS, TOTAL | 01401400 | 33 | 2 | Low exceedance rate, 2 of 33 samples exceed
9 | 02030105120020-01 | HUC02030105120020 | Green Bk (N Plainfield gage to Blue Bk) | PHOSPHORUS, TOTAL | 01403465 | 27 | 2 | Low exceedance rate, 2 of 27 samples exceed
13 | BarnegatBay01-01 | BarnegatBay01 | Point Pleasant Canal and Bay Head Harbor | TEMPERATURE | BB00 | 104 | 2 | Extremely low exceedance rate, 2 of 104 samples exceed
13 | BarnegatBay03-01 | BarnegatBay03 | Metedeconk and Lower Tribs - Bay | TEMPERATURE | BB01 | 293 | 3 | Low exceedance rate, all other stations in HUC fully support
5 | 02030103180090-01 | HUC02030103180090 | Hackensack R (Amtrak bridge to Rt 3) | TEMPERATURE | NJHDG-14 | 140 | 4 | Extremely low exceedance rate, 4 of 140 samples exceed
5 | 02030103180100-01 | HUC02030103180100 | Hackensack R (below Amtrak bridge) | TEMPERATURE | NJHDG-15 | 142 | 3 | Extremely low exceedance rate, 3 of 142 samples exceed
13 | 02040301110050-01 | HUC02040301110050 | Oyster Creek (below Rt 532) | TEMPERATURE | R14A | 30 | 2 | 2 exceedances, both within range of analytical error
6 | 02030103020100-01 | HUC02030103020100 | Whippany R (Rockaway R to Malapardis Bk) | TOTAL DISSOLVED SOLIDS (TDS) | 01381800 | 42 | 5 | 5 of 42 samples exceed, 2/12/15, 2/12/14, 2/7/13 winter storms
3 | 02030103100010-01 | HUC02030103100010 | Ramapo R (above 74d 11m 00s) | TOTAL DISSOLVED SOLIDS (TDS) | 01387500 | 84 | 3 | Very low exceedance rate, 3 of 84 samples exceed
3 | 02030103110020-01 | HUC02030103110020 | Pompton River | TOTAL DISSOLVED SOLIDS (TDS) | 01388500 | 84 | 3 | Very low exceedance rate, 3 of 84 samples exceed
7 | 02030104030010-01 | HUC02030104030010 | Morses Creek / Piles Creek | TOTAL DISSOLVED SOLIDS (TDS) | 01393690 | 18 | 3 | 3 of 18 samples exceed, winter storms on 2/11-12/06, 2/6-7/07
7 | 02030104050060-01 | HUC02030104050060 | Rahway R(Robinsons Br to KenilworthBlvd) | TOTAL DISSOLVED SOLIDS (TDS) | 01395000 | 39 | 5 | 5 of 39 samples exceed (10 yrs), Winter storm events on: 2/3/09, 2/1/10, 2/6/14, 2/12/15, 2/13/13, 2/3-4/06
8 | 02030105030060-01 | HUC02030105030060 | Neshanic River(Black Brk to FN/SN confl) | TOTAL DISSOLVED SOLIDS (TDS) | 01398000 | 85 | 4 | 4 of 85 samples exceed, all exceeds associated with winter storms 2/4/14, 2/15-16/10, 2-25-26/07
8 | 02030105070010-01 | HUC02030105070010 | Raritan R NB (Rt 28 to Lamington R) | TOTAL DISSOLVED SOLIDS (TDS) | 01399820 | 25 | 2 | Site was sampled twice per day, 9 total samples with 2 exceedances. Not enough data for assessment, downstream station is full support
10 | 02030105110010-01 | HUC02030105110010 | Heathcote Brook | TOTAL DISSOLVED SOLIDS (TDS) | 01401400 | 31 | 4 | 4 of 31 samples exceed (10 yrs), Winter storms on 2/3-4/09, 2/6/10, 2/10/15
9 | 02030105120160-01 | HUC02030105120160 | Raritan R Lwr(I-287 Piscatway-Millstone) | TOTAL DISSOLVED SOLIDS (TDS) | 01403300 | 43 | 3 | No exceedances the last 5 years
9 | 02030105120100-01 | HUC02030105120100 | Bound Brook (below fork at 74d 25m 15s) | TOTAL DISSOLVED SOLIDS (TDS) | 01403385 | 154 | 4 | Low exceedance reate, last 5 yrs 3 of 17 exceed associated with winter storms 2/12/15, 2/19/14, 2/11/13
12 | 02030104090050-01 | HUC02030104090050 | Jumping Brook (Ocean Co) | TOTAL DISSOLVED SOLIDS (TDS) | 01407760 | 85 | 2 | Very low exceedance rate, 2 of 85 samples exceed
12 | 02030104100030-01 | HUC02030104100030 | Manasquan R (West Farms Rd to Rt 9) | TOTAL DISSOLVED SOLIDS (TDS) | 01408000 | 83 | 2 | Very low exceedance rate, 2 of 83 samples exceed
13 | 02040301020050-01 | HUC02040301020050 | Metedeconk R NB (confluence to Rt 9) | TOTAL DISSOLVED SOLIDS (TDS) | BTNA | 2806 | 16 | Extremely low exceedance percentage, 16 of 2806 samples exceed
13 | 02040301020030-01 | HUC02040301020030 | Haystack Brook | TOTAL DISSOLVED SOLIDS (TDS) | HS-1 | 258 | 2 | Very low exceedance rate, 2 of 258 samples exceed
13 | 02040301040020-01 | HUC02040301040020 | Metedeconk R (Beaverdam Ck to confl) | TOTAL DISSOLVED SOLIDS (TDS) | INTAKE | 2813 | 19 | Extremely low exceedance percentage, 19 of 2813 samples exceed
13 | 02040301020020-01 | HUC02040301020020 | Metedeconk R NB (confluence to Rt 9) | TOTAL DISSOLVED SOLIDS (TDS) | NF | 332 | 7 | Extremely low exceedance percentage, 7 of 332 samples exceed
13 | 02040301030040-01 | HUC02040301030040 | Metedeconk R SB (Rt 9 to Bennetts Pond) | TOTAL DISSOLVED SOLIDS (TDS) | NF14 | 43 | 3 | Low exceedance rate, 3 of 43 samples exceed, all during winter storms
13 | 02040301020020-01 | HUC02040301020020 | Metedeconk R NB(Rt 9 to I-195) | TOTAL DISSOLVED SOLIDS (TDS) | NG | 131 | 2 | Very low exceedance rate, 2 of 131 samples exceed
13 | 02040301030010-01 | HUC02040301030010 | Metedeconk R SB (above I-195 exit 21 rd) | TOTAL DISSOLVED SOLIDS (TDS) | SL | 250 | 2 | Very low exceedance rate, 2 of 250 samples exceed
8 | 02030105040010-01 | HUC02030105040010 | Raritan R SB(Pleasant Run-Three Bridges) | TOTAL SUSPENDED SOLIDS (TSS) | 01397415 | 17 | 2 | Borderline, possible turbidity/TSS issues in the SB Raritan. Need more data for confirmation. Exceed in 2013 associated with winter storm (1.1" precip) and 2010 (2.9" precip)
8 | 02030105040010-01 | HUC02030105040010 | Raritan R SB(Pleasant Run-Three Bridges) | TURBIDITY | 01397415 | 21 | 2 | Borderline, possible turbidity/TSS issues in the SB Raritan. Need more data for confirmation. Exceed in 2013 associated with winter storm (1.1" precip) and 2010 (2.9" precip)
8 | 02030105050090-01 | HUC02030105050090 | Rockaway Ck (below McCrea Mills) | TURBIDITY | 01399570 | 20 | 1 | Over the last 10 years, 19 of 20 samples meet criteria
9 | 02030105120160-01 | HUC02030105120160 | Raritan R Lwr(I-287 Piscatway-Millstone) | TURBIDITY | 01403300 | 156 | 6 | Exceedances occur during intense rain storms. Don’t list yet but get more data.
9 | 02030105120130-01 | HUC02030105120130 | Green Brook (below Bound Brook) | TURBIDITY | 01403900 | 47 | 2 | Low exceedance rate, only 1 exceedance over last 5 yrs
9 | 02030105120160-01 | HUC02030105120160 | Raritan R Lwr (MileRun to I-287 Pisctwy) | TURBIDITY | 01404170 | 26 | 2 | Low exceedance rate, 24 of 26 samples meet over 10 yrs
9 | 02030105150010-01 | HUC02030105150010 | Weamaconk Creek | TURBIDITY | 01405185 | 29 | 2 | Low exceedance rate, 27 of 29 samples meet criteria over 10 yrs