## A
OQA assigned QAPP #
Project name
Funding source
Period of applicability
QAPP receipt date
Responsible DEP program
DEP contact for project
Outside contact for project
DEP QA Specialist for program
A1. Title Page | Yes/No/NA | Section (if template not used) | Comments
Project name (including term “Quality Assurance Project Plan”) included
QAPP preparation date specified
Name of the organization performing project activities provided. (Note: EPA uses the term "environmental information operations (EIO)" to describe project activities)
Name of organization that developed the QAPP provided (if different from organization conducting project activities)
Period of applicability specified (QAPP duration cannot exceed 5 years)
Revision/version control information listed
If EPA funded, statement giving the following, as applicable, included: - the grant or cooperative agreement and number; - contract number and task order number; - interagency agreement number; - title and date of Memorandum of Understanding/Agreement; or - citation of the regulatory requirement. Note: for EPA funded DEP projects, typically interagency agreements and regulatory requirements will need to be cited.
A2. Approval Page | -
Signature block for project manager
Signature block for NJDEP project manager (note: will be the same as project manager for DEP-only projects)
Signature block for project QA manager
Signature block for DEP QA Manager
Includes statement with the following intent: "My signature below indicates my approval of the plan and my commitment to follow the procedures noted herein. I understand that changes to this plan shall not be made without approval/signature by all below signatories."
A3. Table of Contents, Document Format, and Document Control | -
Table of contents included
Document control on every page, including: - Title of document - Version # of document - Version date - Page # relative to # of pages
A4. Project Purpose, Problem Definition, and Background | -
QA planning documents with relevant requirements listed (e.g., NJDEP Quality Management Plan, Field Sampling Procedures Manual, previous QAPPs, etc.). At a minimum, QMP must be referenced.
Purpose of the project activities is described (e.g., research, monitoring, environmental technology for clean-up, and use of existing data from other sources).
Description of problem(s) to be addressed / question(s) to be answered included.
Environmental decision(s) to be made and the level of information quality needed to ensure that those decisions are based on sound environmental information is described.
Reference to regulatory programs and standards included (if applicable).
Description of background information (e.g., former QAPPs, reports, etc.) provides the historical, scientific, and regulatory perspective for the project and identifies any existing environmental information to be used.
A5. Project Task Description | -
Project tasks described.
Planned project schedule included.
Products to be produced (e.g., deliverables - reports, publications, etc.) specified.
If project duration exceeds one year... plans for annual QAPP review described (including who is responsible for the review and how it will be documented).
A6. Information/Data Quality Objectives and Performance/Acceptance Criteria | -
Precision: - How is it determined; - Method-specific acceptance criteria; - Frequency?
Accuracy: - How is it determined; - Method-specific acceptance criteria; - Frequency?
Representativeness discussed, including: - description of how study is designed to ensure data will reflect conditions of interest.
Comparability discussed, including: - description of steps to ensure results can be compared to like data sets.
Completeness discussed, including: – description of how much data is needed to meet project goals and what will be done if not enough data is obtained.
Sensitivity discussed, if applicable, including: – reporting limits and/or method detection limits.
A7. Distribution List | -
List of individuals who will receive copies of the approved QAPP included
A8. Project Organization | -
All organizations participating in project activities are identified.
Roles and responsibilities of key project personnel listed including the following: | -
- specification that OQA has been delegated approval authority for the QAPP from EPA.
- specification of project manager.
- specification that project's QAM has authority to discuss quality issues with senior management outside the supervisory chain.
- specification of the project QAM’s having responsibility for planning, documenting, coordinating and assessing effectiveness of the QAPP.
- specification of data users within the organization conducting the EIO as well as outside of this organization.
Party responsible for maintaining and distributing QAPP identified
A9. Project Quality Assurance Manager Independence | -
Description of QAM independence from project manager and personnel generating the data included.
A10. Project Organization Chart and Communications | -
Project organizational chart showing lines of authority and communication between project participants given.
A11. Personnel Training/ Certification | -
Any required trainings or certifications are identified.
Training procedures described.
Identification of individual responsible for documenting training and for ensuring training is complete.
If NJDEP OQA certified labs are used, names and OQA-issued lab ID numbers are specified.
A12. Documents and Records | -
Documents and records that will be produced are identified.
Management of documents and records, including the QAPP, described or referenced.
Description of document control system detailing the preparation, review, approval, issuance, revision, archiving (retention period and location), and disposal of documents included.
B1. Identification of Project Environmental Information Operations | -
If using OQA's template, the appropriate boxes were checked off in the table.
If not using OQA's template, the following elements are addressed in the QAPP: - description of type of project activities (EIO); - description of how project activities will satisfy project purpose; - statement of how EIO will satisfy the information/data quality objectives; and - statement of how the EIO will satisfy the performance and acceptance criteria in the Data Quality section of the QAPP.
B2. Methods for Environmental Information Acquisition | -
Are the following activities applicable to your project? (Note: if "NA" is entered into the cells B76 - B79, other questions below that will not be applicable will be automatically populated with a "NA")
Field Activities (e.g., field analysis or sample collection)
Laboratory Analyses
Existing Information (e.g., sampling and analytical data, pictures or topographical maps, background info from facility files, weather data, etc.)
Environmental Technology (e.g., for pollution prevention, contamination containment, storage, or remediation)
Field Activities (e.g., field analysis or sample collection)
Description of procedures for all field activities, (e.g., information derived from tools, instruments, observational results and sample collection.)
If samples are being collected…description of the following, as applicable:
• how sample sites were chosen;
• planned sampling sites (map or coordinates, if known) or specification of rationale for choosing sites during the project;
• how sample sites will be identified (e.g., GPS coordinates recorded);
• procedures for inaccessible sample locations;
• specifications sample collection timeframes (e.g., at least a week apart, monthly, etc.);
• # of samples per site;
• order of sampling, if important to obtaining usable results.
• sample collection procedures (e.g., published methods, reference documents such as the NJDEP Field Sampling Procedures Manual) to be used;
• sampling equipment to be used;
• equipment preparation and decontamination procedures;
• type(s) (grab or composite) of samples and QC samples;
• sample matrices;
• maximum holding times for sample extraction and/or analysis;
• sample container information (e.g., plastic or glass, new or reused);
• sample volume information specified;
• preservation protocols specified;
• sample handling and custody specified;
If QAPP was based on emergency response, does the QAPP indicate whether the project activities support emergency response activities which allow for the QAPP to be approved during the environmental information operations as per the timelines specified in the EPA sponsoring organization’s QMP and other applicable EPA-approved QMPs (such as the contractor’s QMP)?
If the field activities include analysis... Identify
• the methods to be used for testing each parameter (e.g., SM 4500-H B-11 for pH)
• the lab performing the field analysis.
Any SOPs applicable to data collection/information gathering shall be identified, including version/revision. If an SOP provides more than one procedure (e.g., one SOP covers the use of several types of field equipment for the same procedure) the QAPP shall note the specific option being used.
Any planned modifications to the SOPs specified.
Individual responsible for updating and maintaining the SOPs identified.
Laboratory Analyses
Includes a list of all parameters (e.g., lead, total suspended solids, etc.) to be analyzed in each lab (when multiple labs are used, clear indication of what testing will be done where).
Methods are identified by number/identifier, version/revision date, and regulatory citation (if applicable). If a method allows the user to select from various options, then the method citations shall state exactly which option(s) are being selected.
Any SOPs applicable to analysis shall be identified, including version/revision. If an SOP provides more than one procedure (e.g., one SOP covers the use of several types of field equipment for the same procedure) the QAPP shall note the specific option being used.
Any planned modifications to the SOPs specified.
Individual responsible for updating and maintaining the SOPs is identified.
Specify corrective actions for when analytical problems arise (who is responsible, how will they be confirmed effective.)
If using non-standard methods (e.g., for unusual sample matrices or emerging contaminants), appropriate method performance study information is needed to confirm the performance of the method for the matrix. If previous performance studies are not available, performance studies shall be developed during the project and included as part of the project results. If such methods will be used, a description of the performance studies to be performed during the project shall be included.
Existing Information (e.g., sampling and analytical data, pictures or topographical maps, background info from facility files, weather data, etc.)
Description of any data that will be obtained from existing sources.
Description of the collection process for the existing information.
Description of the intended use of the existing information and the criteria for acceptance and evaluation for suitability of the data for the current project.
If the existing information is to be combined with new environmental information, description of criteria to ensure compatibility with new information and any constraints on the use of the existing data.
Environmental Technology (e.g., for pollution prevention, contamination containment, storage, or remediation)
Identify whether the technology is primarily for pollution prevention, contamination containment, storage, or remediation.
Describe the physical parameters or processes collected using environmental technologies.
Describe the specific systems, devices, and their components applicable to both hardware and methods or techniques that measure and/or remove pollutants or contaminants and/or prevent them from entering the environment.
B3. Integrity of Environmental Information
Procedures for ensuring project integrity described.
For projects that include field sampling…Descriptions of sample handling and custody that address the following:
- Materials used for labeling
- Labeling convention to be used (including examples of sample labels if printed labels will be used)
- Chain-of-custody procedures
- Location of a copy of the chain-of-custody to be used (this is required to be in the QAPP. typically attached as an appendix).
- Sample holding times
- Sample storage criteria
- Sample shipping information
- Laboratory turn-around-time if important to project schedule.
For projects that include laboratory analysis…Descriptions of the following included:
- Laboratory (and back-up laboratory if needed for the project). If the laboratory is certified through the OQA’s laboratory certification program, specify the laboratory ID number if not already given in A11 or B2 above (see cells B66 and B103).
- Process for ensuring the laboratory maintains current certification for applicable analytes and matrices for project duration (e.g., will the accreditation/certification status of the laboratory be verified during the annual review to ensure the laboratories chosen are still certified).
B4. Quality Control
Describe the QC activities needed to meet project data quality objectives (see section A6) and performance/ acceptance criteria. [Note: may be covered in A6.]
Procedures for calculating applicable statistics (e.g., precision and bias) described or referenced.
For projects involving field work or laboratory analysis: required QC activities (e.g., blanks, duplicates, matrix spikes, laboratory control samples, surrogates, second column confirmation, etc.) are detailed or referenced for each method, including their frequency, acceptance criteria, and corrective actions if acceptance criteria are exceeded. Note: if the QC information is in laboratory SOPs, these SOPs can be referenced and attached to the QAPP in lieu of repeating information in the QAPP. However, if a certified laboratory is performing the analysis, the QAPP does not need to include specific QC details, or a copy of the SOPs, as the OQA has already verified the method QC limits are incorporated as required through the laboratory certification program.
For projects using existing data, QC activities described including systematic review, independent secondary review of studies in the open literature, and QC of constructed databases or spreadsheets.
For projects using models or modeling, QC activities include, but are not limited to model calibration and model validation (sensitivity analyses).
B5. Instruments/Equipment Calibration, Testing, Inspection, and Maintenance
Detail (or reference SOPs containing), as applicable:
- Instruments/ equipment to be used
- Procedures and schedules for testing, inspecting, and maintaining instruments and equipment to ensure that it is available and in working order
- How and when (e.g., before each use, weekly, monthly, etc.) calibration will be performed. Any certified equipment and/or standards to be used during calibration (or reference SOPs where this information can be found) identified.
- Any critical spare parts.
- Procedures for retaining records related to instruments/equipment (note: may refer to B12).
B6. Inspection/Acceptance of Supplies and Services
Identifies supplies (spare parts for instruments/equipment, sample bottles and solutions, etc.) and/or services for the project.
Identifies individual(s) responsible for inspection and acceptance of supplies and services.
Describes or references procedures for inspection and acceptance of supplies and services.
B7. Environmental Information (EIO) Management
Description included on procedures to be implemented to prevent loss of information during data entry, reduction, and reporting (e.g., separate analyst reviews all data entry).
Description of how errors will be detected and corrected included.
Description of how environmental information (either that which is generated during the project, or existing information) is processed, compiled, and analyzed.
Description of any specific equipment/software or formulas used to process the data included. Description of how the acceptability of the hardware/ software configuration is verified.
C1. Assessments and Response Actions
Assessments (plans to ensure the QAPP is adhered to) are described, including:
- Assessment types
- Number & frequency of assessments
- Responsible individual
- Documentation of assessments & assessment findings
Response Actions (corrective actions - CAs) are described, including:
- Responsible individual
- how CAs will be determined
- how effectiveness of CAs will be confirmed
- how CAs and evaluations of CAs will be documented
C2. Oversight and Reports to Management
Activities to ensure assessments are performed and response actions are implemented (from C1) are described.
Individual(s) responsible for oversight identified.
Procedures for addressing/ reporting any findings are specified.
All reports that will be generated during the project and the person responsible for preparing them are described and identified. Info to specify may include: - Report types; - Report frequencies; - Description of report contents (e.g., raw data, processed data, audit results, description of any QA problems, etc.); and - Discussion of who/what organization will receive the reports.
If testing/analysis will be performed in laboratories that are not certified through the NJDEP OQA’s environmental laboratory certification program, is a statement that data obtained during the project cannot be used for regulatory purpose included?
D1. Environmental Information Review
Verification (the process of evaluating the completeness, correctness, and conformance/ compliance of a specific data set to the method, procedural, or contractual requirements.): Procedures for the verification that will occur after data/ information collection/ gathering concludes are described or cited.
Validation (an analyte and sample-specific process that extends the evaluation of data beyond data verification to determine the analytical quality of a specific data set): Procedures for the validation that will occur after data/information collection/ gathering concludes are described or cited.
Data Quality Assessment (the scientific and statistical evaluation of data to determine if the data obtained from environmental information operations are of the right type, quality, and quantity to support their intended use): Procedures for data quality assessment (describing or referencing how the data review process will confirm the data quality criteria described in section A6 have been met) are described or referenced.
The individual(s) conducting these reviews is/ are identified.
Description of how these reviews will be documented included (Note: may be in section A12).
D2. Usability Determination
Process to determine if environmental information (data) obtained is usable is described or referenced
Documentation procedures for this process are described.
Identify who is responsible for usability determination.
Discuss how limitations on the use of the data will be handled and reported to the decision makers.