Add your SMP drawing here: add legend/notes for key features requiring maintenance

NJ Stormwater Toolkit
Stormwater Maintenance Card

Municipality of “Greenville”
Template by NJDEP

Prepared by “J. Doe, Public Works Manager”

Facility: Example - Wet Pond Facility No. 4

Location
Example - Small park behind Municipal Building;

34 Main Street

Description/Purpose
Example - Bioswale/rain garden surrounding infiltration pond

SHORT TERM or WEEKLY or MONTHLY MEASURES   (choose one)

DRAINAGE:

Example guidance: list in this section the short-term maintenance measures related to facility drainage that should be performed frequently to maintain the functionality and effectiveness of the stormwater management BMP

- Examples are listed below

Measure 1: Weekly – confirm drainageways, pipe outlets to pond are clear

- Action: Confirm working condition of original drainage pathways

- Action: Look for evidence of undesirable erosion and repair

Measure 2: Log/summarize results from BMP inspection on back of card

VEGETATION:

Example guidance: list in this section the short-term maintenance measures related to BMP vegetation that should be performed frequently to maintain the functionality and effectiveness of the stormwater management facility

- An example is listed below

Measure 1: Confirm health of grasses/ground cover, shrubs, trees near BMP

- Examine the vegetation that was installed as part of the BMP for signs of stress, disease, predation, and replace as needed

- Identify the causes of lack of vegetative success as possible to determine if replacement with a different vegetation is needed

SITE:

Example guidance: list in this section the short-term maintenance measures related to BMP site environment

Measure 1: Review whether use of the site is causing any damage or creating any safety issues

- Log & repair damage to BMP features; immediately report safety issues

MEDIUM TERM or QUARTERLY MEASURES   (choose one)

DRAINAGE:

Example guidance: list in this section the intermediate-term maintenance measures related to facility drainage that should be performed every few months to maintain the functionality and effectiveness of the BMP

Measure 1: Example-check all piping and inlet/outlet devices for signs of settling or clogging

- Unclog or repair pipe or outlet/inlet as needed; log actions

VEGETATION:

Example guidance: list in this section the intermediate-term maintenance measures related to facility vegetation that should be performed every few months to maintain the functionality and effectiveness of the BMP

Measure 1: Review whether any vegetation needs to be replaced

- Insert detailed guidance text here for specific actions to be performed

SITE:

Example guidance: list in this section the intermediate-term maintenance measures related to the facility environment that should be performed every few months to maintain the functionality & effectiveness of the BMP

Measure 1: Review integrated function of site vegetation and drainage components to assure full functionality, including infiltration

- Compare site design drawings to current site environment

LONG TERM or YEARLY MEASURES   (choose one)

- On an annual basis, refer to O&M Manual for more details.

DESIGN CONSIDERATIONS

- 1. List here specific design detail information needed by field crew to facilitate proper inspection

- 2. Example – Outlet riser pipe in pond has debris screen that needs to be cleared of leaves and debris

- 3. List here specific design detail information needed by field crew

- 4. List here specific design detail information needed by field crew

INSPECTIONS REQUIRED BY MAINTENANCE PLAN OR PERMIT

- Permit Inspection requirement No. 1
[Optional – record results of inspection with date]

- Plan Inspection requirement No. 2
[Optional – record results; keep photo recordation of BMP condition at public works department for annual report to NJDEP]

RECORD KEEPING

Please keep separate records of maintenance actions taken or optionally summarize below.

- [Optional – Log inspection or maintenance action taken; include date]

REPORTING

- Identify who critical safety issues should be reported to, with contact information. For example: Facility conditions that might create near-term danger to the public should be reported to:_____________________________

- Does inspection result or maintenance action need to be reported for permit modification?  If yes, record relevant notes/reminder.

- Does inspection result or maintenance action need to be reported so maintenance card can be modified?  If yes, record relevant notes.

MAINTENANCE NOTES

[Optional – Write in any maintenance notes, or reminders for follow-up action]

Contact information if there are maintenance questions

Website: www.text.com		Contact: Supervisor - John Smith
Phone: (555) 555-5555			Email: email2@text.gov

[Optional – If notes are added to the maintenance card, file it with:]

Manager - Jane Doe
Phone: (000) 000-0000			Email: email1@text.gov

Add your SMP drawing here: add legend/notes for key features requiring maintenance

Version Date: May 2020  																		    Back of Form