## INSTRUCTIONS
N.J.A.C. 7:27E-2.4 Recordkeeping requirements for a facility with one or more refrigeration systems
This record-keeping spreadsheet assists facilities in maintaining records to comply with N.J.A.C. 7:27E-2.4. The use of this spreadsheet is optional. This recordkeeping tool does not replace registration or reporting requirements that need to be completed on NJDEPOnline.com. If you have any questions regarding the use of this record-keeping tool, please contact the Small Business Assistance Program at the following number: 877-753-1151. (a) The owner or operator of a facility registered in accordance with N.J.A.C. 7:27E-2.1 shall maintain the following records for five years at the facility and make the records available to the Department upon request: 1. Records showing all refrigeration system service and refrigerant leak repairs; (click on the "EQUIPMENT SERVICE" tab to record all refrigeration system services and refrigerant leak repairs) 2. Records showing each item required to be reported in the Facility Refrigeration System Report in accordance with N.J.A.C. 7:27E-2.3(b); (click on the "EQUIPMENT INFO" and "ANNUAL REPORT 202X" tabs to record information to be reported on the annual Facility Refrigeration System Report) 3. Records of refrigeration system component data, measurements, calculations, and assumptions used to determine the full charge. (click on the "FULL CHARGE" tab to record the full charge of each regulated refrigeration system)

## EQUIPMENT SERVICE 2022-2027
GHG MONITORING AND REPORTING RULE: EQUIPMENT SERVICE TABLE
Please record all instances in which refrigerant was charged into a system, recovered from a system, leak repairs were made, or any other type of service was perfomed on a refrigeration system. If more than one system was serviced in a single day, please list each on a seperate row. Be sure to maintain all invoices and service records at the facility.
Service Date | Refrigeration System ID | Description of Service
Note on B7: Please list the date that the service was preformed.
Note on C7: This ID number must correspond to the Refrigeration System ID in the annual Facility Refrigeration System Report. This number should also correspond to the Refrigeration System ID in the "EQUIPMENT INFO" tab.
Note on D7: Please include a description of the service (repair, refrigerant charged, refrigerant recovered, leak repair made, ect.)

## EQUIPMENT INFO
GHG MONITORING AND REPORTING RULE: EQUIPMENT INFORMATION TABLE
The equipment information table is used to keep track of all regulated refrigeration equipment at the facility. Each row will include information for a single refrigeration system. Fill in ALL the cells for each row that is started, as all the information will be required in the Facility Refrigeration System Report. If you have already submitted a Refrigeration Facility Annual Report, the Refrigeration System IDs can be found in an email confirmation sent to the facility contacts after the Refrigeration Facility Annual Report was submitted. (The information in this table must be reported annually at NJDEPonline.com)
Facility ID : (Y####)
Refrigeration System ID | Model Number / Description | Manufacturer | Install Date | Model Year | Serial Number | Full Charge (lbs.) | Temp. Class | Commercial/ Industrial/Other | Refrigerant 1 | Refrigerant 2 | Refrigerant 3
001
002
003
004
005
006
007
008
009
010
011
012
013
014
015
016
017
018
019
020
021
022
023
024
025
026
027
028
029
030
031
032
033
034
035
036
037
038
039
040
041
042
043
044
045
046
047
048
049
050
051
052
053
054
055
056
057
058
059
060
061
062
063
064
065
066
067
068
069
070
071
072
073
074
075
076
077
078
079
080
081
082
083
084
085
086
087
088
089
090
091
092
093
094
095
096
097
098
099
100
Note on D7: Enter Facility ID here.
Note on B8: This ID number must correlate to the Refrigeration System ID in the annual Facility Refrigeration System Report.
Note on C8: Include the Model number of the system when possible. If the model number is not available, provide information about where the equipment is physucally located within the facility.
Note on D8: Include the manufacturer of the refrgeration system.
Note on E8: Include the day, month and year that the system was installed.
Note on F8: Include the model year of the refrigeration system.
Note on G8: Include the serial number, either from the plate on the equipment, or from your records.
Note on H8: SEE TAB TITLED "FULL CHARGE"
Note on I8: "Medium temperature refrigeration system” means a commercial or industrial refrigeration system used for chilled products. "Low temperature refrigeration system” means a commercial or industrial refrigeration system used for frozen products. "Any Other" means not medium temperature refrigeration system and not low temperature refrigeration system.
Note on J8: “Commercial refrigeration” means a refrigeration appliance used in the retail food and cold storage warehouse sectors. For purposes of this definition, “retail food” includes supermarkets, convenience stores, restaurants, and other food service establishments. “Cold storage” includes the storage of meat, produce, dairy products, and other perishable goods. “Industrial process refrigeration” means complex customized appliances used in the chemical, pharmaceutical, petrochemical, and manufacturing industries that are directly linked to the industrial process. “Industrial process refrigeration” includes industrial ice machines, appliances used directly in the generation of electricity, and ice rinks. Where one appliance is used for both industrial process refrigeration and other applications, it will be considered industrial process refrigeration equipment if 50 percent or more of its operating capacity is used for industrial process refrigeration. “Other refrigeration” means any stationary, non-residential appliance that is used for an application other than industrial process refrigeration, commercial refrigeration, or air-conditioning, or is used for two or more applications including industrial process refrigeration, commercial refrigeration, or air-conditioning.
Note on K8: Record your refrigerant or refrigerant blend in this column. If you are using more than one refrigerant or refrigerant blend in that system, record the additional refrigerants or refrigerant blends in the additional columns.

## FULL CHARGE
GHG MONITORING AND REPORTING RULE: FULL CHARGE TABLE
In the table below, please include the full charge of each system and which of the three methods listed below was used to determine full charge. “Full charge” means the amount of refrigerant required in the refrigerant circuit for normal operating characteristics and conditions of a refrigeration system or appliance, as determined by using one of the following three methods: 1. The equipment manufacturer's specifications of the full charge; (If this method is chosen, the owner or operator must keep documentation from the manufacturer regarding the full charge of the system/systems and make this documentation available to the Department upon request.) 2. A calculation based on component size, density of refrigerant, volume of piping, seasonal variances, and other relevant considerations; (If this method is chosen, a tool for calculating the full charge of a system can be found at https://ww2.arb.ca.gov/resources/documents/rmp-refrigerant-charge-calculator. The owner or operator should keep all calculations used to determine the full charge of the system/systems, and make them available to the Departmen upon request.) 3. The midpoint of an established range for full charge based on the best available data regarding the normal operating characteristics and conditions for the system. (If this method is chosen, a record of collected data or a narrative suported by best professional judgement should be created explaining how the full charge of the system/systems were determined. The owner or operator should keep these records, and make them available to the Department upon request.)
Refrigeration System ID | Full Charge | Method Determining Full Charge (drop-down menu)
001
002
003
004
005
006
007
008
009
010
011
012
013
014
015
016
017
018
019
020
021
022
023
024
025
026
027
028
029
030
031
032
033
034
035
036
037
038
039
040
041
042
043
044
045
046
047
048
049
050
051
052
053
054
055
056
057
058
059
060
061
062
063
064
065
066
067
068
069
070
071
072
073
074
075
076
077
078
079
080
081
082
083
084
085
086
087
088
089
090
091
092
093
094
095
096
097
098
099
100
Note on B7: This ID number must correspond to the Refrigeration System ID in the annual Facility Refrigeration System Report. This number should also correspond to the Refrigeration System ID in the "EQUIPMENT INFO" tab.
Note on C7: “Full charge” means the amount of refrigerant required in the refrigerant circuit for normal operating characteristics and conditions of a refrigeration system or appliance, as determined by using one of the three methods descibed above.
Note on D7: Select which of the three methods you used above to determine the full charge from the drop-down menu.

## ANNUAL REPORT 2022
GHG MONITORING AND REPORTING RULE: ANNUAL REPORT TABLES 2022
Each of the Annual Report tabs will be used to keep track of the refrigerant usage at the facility annually. Each refrigerant will need its own table. Select the appropriate refrigerant from the drop-down menu to the right of "REFRIGERANT NAME." If you do not see your refrigerant listed, select "Other (please specify)." Then type the name of the refrigerant in the box to the right of the drop-down menu. Create a new line for each date in which refrigerant was purchased, shipped off-site, recovered from system or charged into system. Automatic yearly totals will be calculated in the yellow cells at the bottom of the table. These values will be needed for the annual Refrigeration Facility Report, which is due April 1st of each year. Record the total weight in pounds of each type of high-GWP refrigerant stored in inventory at the facility or at a different location for facility use on December 31st in the bottom right cell of each table in the "Stored on 12/31 (lbs.)" column.
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
Note on C8: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D8: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E8: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F8: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G8: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C28: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D28: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E28: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F28: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G28: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C48: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D48: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E48: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F48: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G48: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C68: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D68: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E68: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F68: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G68: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C88: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D88: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E88: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F88: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G88: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.

## ANNUAL REPORT 2023
GHG MONITORING AND REPORTING RULE: ANNUAL REPORT TABLES 2023
Each of the Annual Report tabs will be used to keep track of the refrigerant usage at the facility annually. Each refrigerant will need its own table. Select the appropriate refrigerant from the drop-down menu to the right of "REFRIGERANT NAME." If you do not see your refrigerant listed, select "Other (please specify)." Then type the name of the refrigerant in the box to the right of the drop-down menu. Create a new line for each date in which refrigerant was purchased, shipped off-site, recovered from system or charged into system. Automatic yearly totals will be calculated in the yellow cells at the bottom of the table. These values will be needed for the annual Refrigeration Facility Report, which is due April 1st of each year. Record the total weight in pounds of each type of high-GWP refrigerant stored in inventory at the facility or at a different location for facility use on December 31st in the bottom right cell of each table in the "Stored on 12/31 (lbs.)" column.
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
Note on C8: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D8: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E8: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F8: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G8: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C28: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D28: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E28: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F28: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G28: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C48: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D48: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E48: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F48: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G48: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C68: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D68: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E68: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F68: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G68: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C88: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D88: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E88: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F88: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G88: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.

## ANNUAL REPORT 2024
GHG MONITORING AND REPORTING RULE: ANNUAL REPORT TABLES 2024
Each of the Annual Report tabs will be used to keep track of the refrigerant usage at the facility annually. Each refrigerant will need its own table. Select the appropriate refrigerant from the drop-down menu to the right of "REFRIGERANT NAME." If you do not see your refrigerant listed, select "Other (please specify)." Then type the name of the refrigerant in the box to the right of the drop-down menu. Create a new line for each date in which refrigerant was purchased, shipped off-site, recovered from system or charged into system. Automatic yearly totals will be calculated in the yellow cells at the bottom of the table. These values will be needed for the annual Refrigeration Facility Report, which is due April 1st of each year. Record the total weight in pounds of each type of high-GWP refrigerant stored in inventory at the facility or at a different location for facility use on December 31st in the bottom right cell of each table in the "Stored on 12/31 (lbs.)" column.
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
Note on C8: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D8: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E8: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F8: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G8: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C28: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D28: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E28: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F28: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G28: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C48: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D48: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E48: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F48: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G48: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C68: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D68: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E68: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F68: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G68: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C88: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D88: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E88: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F88: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G88: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.

## ANNUAL REPORT 2025
GHG MONITORING AND REPORTING RULE: ANNUAL REPORT TABLES 2025
Each of the Annual Report tabs will be used to keep track of the refrigerant usage at the facility annually. Each refrigerant will need its own table. Select the appropriate refrigerant from the drop-down menu to the right of "REFRIGERANT NAME." If you do not see your refrigerant listed, select "Other (please specify)." Then type the name of the refrigerant in the box to the right of the drop-down menu. Create a new line for each date in which refrigerant was purchased, shipped off-site, recovered from system or charged into system. Automatic yearly totals will be calculated in the yellow cells at the bottom of the table. These values will be needed for the annual Refrigeration Facility Report, which is due April 1st of each year. Record the total weight in pounds of each type of high-GWP refrigerant stored in inventory at the facility or at a different location for facility use on December 31st in the bottom right cell of each table in the "Stored on 12/31 (lbs.)" column.
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
Note on C8: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D8: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E8: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F8: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G8: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C28: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D28: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E28: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F28: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G28: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C48: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D48: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E48: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F48: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G48: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C68: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D68: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E68: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F68: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G68: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C88: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D88: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E88: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F88: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G88: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.

## ANNUAL REPORT 2026
GHG MONITORING AND REPORTING RULE: ANNUAL REPORT TABLES 2026
Each of the Annual Report tabs will be used to keep track of the refrigerant usage at the facility annually. Each refrigerant will need its own table. Select the appropriate refrigerant from the drop-down menu to the right of "REFRIGERANT NAME." If you do not see your refrigerant listed, select "Other (please specify)." Then type the name of the refrigerant in the box to the right of the drop-down menu. Create a new line for each date in which refrigerant was purchased, shipped off-site, recovered from system or charged into system. Automatic yearly totals will be calculated in the yellow cells at the bottom of the table. These values will be needed for the annual Refrigeration Facility Report, which is due April 1st of each year. Record the total weight in pounds of each type of high-GWP refrigerant stored in inventory at the facility or at a different location for facility use on December 31st in the bottom right cell of each table in the "Stored on 12/31 (lbs.)" column.
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
REFRIGERANT NAME:
Date | Purchased (lbs.) | Shipped Off-Site (lbs.) | Recovered From System (lbs.) | Charged Into System (lbs.) | Stored on 12/31 (lbs.)
Total: | 0 | 0 | 0 | 0
Note on C8: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D8: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E8: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F8: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G8: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C28: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D28: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E28: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F28: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G28: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C48: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D48: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E48: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F48: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G48: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C68: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D68: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E68: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F68: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G68: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.
Note on C88: Purchased means the total weight in pounds of each type of high-GWP refrigerant that the facility purchased during the reporting period.
Note on D88: Shipped Off-Site means total weight in pounds of high-GWP refrigerant that was shipped by the facility during the reporting period to be reclaimed or destroyed.
Note on E88: Recovered means the total weight in pounds of each type of high-GWP refrigerant that was removed in any condition from a refrigeration system and stored it in an external container without necessarily testing or processing it in any way during the reporting period.
Note on F88: Charged means the total weight in pounds of each type of high-GWP refrigerant that was charged into a refrigeration system during the reporting period but was not part of an initial refrigerant charge. Refrigerant already in the system at the start of the year should NOT be reported.
Note on G88: Stored means the total weight in pounds of each type of high-GWP refrigerant that was stored in inventory at the facility or stored at a different location for use by the facility, on the last day of the reporting period.

## DO NOT ALTER (hidden)
|  |  |  | NONE | –
Other (please specify): | Other | Medium | Commercial | Other | 001 | 1. The equipment manufacturer's specifications of the full charge
3M™ Novec™ 7000 Engineered Fluid (HFE-7000) | 3M™ Novec™ 7000 Engineered Fluid (HFE-7000) | Low | Industrial Process | 3M™ Novec™ 7000 Engineered Fluid (HFE-7000) | 002 | 2. A calculation based on component size, density of refrigerant, volume of piping, seasonal variances, and other relevant considerations
3M™ Novec™ 7100 Engineered Fluid (HFE-7100) | 3M™ Novec™ 7100 Engineered Fluid (HFE-7100) | Any other | Other | 3M™ Novec™ 7100 Engineered Fluid (HFE-7100) | 003 | 3. The midpoint of an established range for full charge based on the best available data regarding the normal operating characteristics and conditions for the system
FOR12A | FOR12A |  |  | FOR12A | 004
FOR12B | FOR12B |  |  | FOR12B | 005
Free Zone | Free Zone |  |  | Free Zone | 006
Freeze 12 | Freeze 12 |  |  | Freeze 12 | 007
G2018C | G2018C |  |  | G2018C | 008
GHG-HP | GHG-HP |  |  | GHG-HP | 009
GHG-X5 | GHG-X5 |  |  | GHG-X5 | 010
ICOR AT-22 | ICOR AT-22 |  |  | ICOR AT-22 | 011
ISCEON 89 | ISCEON 89 |  |  | ISCEON 89 | 012
NU-22 old composition | NU-22 old composition |  |  | NU-22 old composition | 013
R-11 | R-11 |  |  | R-11 | 014
R-12 | R-12 |  |  | R-12 | 015
R-22 | R-22 |  |  | R-22 | 016
R-23 | R-23 |  |  | R-23 | 017
R-32 | R-32 |  |  | R-32 | 018
R-114 | R-114 |  |  | R-114 | 019
R-124 | R-124 |  |  | R-124 | 020
R-134a | R-134a |  |  | R-134a | 021
R-142b | R-142b |  |  | R-142b | 022
R-227ea | R-227ea |  |  | R-227ea | 023
R-236fa | R-236fa |  |  | R-236fa | 024
R-245fa | R-245fa |  |  | R-245fa | 025
R-401A | R-401A |  |  | R-401A | 026
R-401B | R-401B |  |  | R-401B | 027
R-401C | R-401C |  |  | R-401C | 028
R-402A | R-402A |  |  | R-402A | 029
R-402B | R-402B |  |  | R-402B | 030
R-403B | R-403B |  |  | R-403B | 031
R-404A | R-404A |  |  | R-404A | 032
R-406A | R-406A |  |  | R-406A | 033
R-407A | R-407A |  |  | R-407A | 034
R-407B | R-407B |  |  | R-407B | 035
R-407C | R-407C |  |  | R-407C | 036
R-407D | R-407D |  |  | R-407D | 037
R-407F | R-407F |  |  | R-407F | 038
R-407H | R-407H |  |  | R-407H | 039
R-408A | R-408A |  |  | R-408A | 040
R-409A | R-409A |  |  | R-409A | 041
R-410A | R-410A |  |  | R-410A | 042
R-410B | R-410B |  |  | R-410B | 043
R-411A | R-411A |  |  | R-411A | 044
R-411B | R-411B |  |  | R-411B | 045
R-414A | R-414A |  |  | R-414A | 046
R-414B | R-414B |  |  | R-414B | 047
R-416A | R-416A |  |  | R-416A | 048
R-417A | R-417A |  |  | R-417A | 049
R-417C | R-417C |  |  | R-417C | 050
R-420A | R-420A |  |  | R-420A | 051
R-421A | R-421A |  |  | R-421A | 052
R-421B | R-421B |  |  | R-421B | 053
R-422A | R-422A |  |  | R-422A | 054
R-422B | R-422B |  |  | R-422B | 055
R-422C | R-422C |  |  | R-422C | 056
R-422D | R-422D |  |  | R-422D | 057
R-423A | R-423A |  |  | R-423A | 058
R-424A | R-424A |  |  | R-424A | 059
R-426A | R-426A |  |  | R-426A | 060
R-427A | R-427A |  |  | R-427A | 061
R-428A | R-428A |  |  | R-428A | 062
R-434A | R-434A |  |  | R-434A | 063
R-437A | R-437A |  |  | R-437A | 064
R-438A | R-438A |  |  | R-438A | 065
R-442A | R-442A |  |  | R-442A | 066
R-448A | R-448A |  |  | R-448A | 067
R-449A | R-449A |  |  | R-449A | 068
R-449B | R-449B |  |  | R-449B | 069
R-450A | R-450A |  |  | R-450A | 070
R-452A | R-452A |  |  | R-452A | 071
R-452B | R-452B |  |  | R-452B | 072
R-452C | R-452C |  |  | R-452C | 073
R-453A | R-453A |  |  | R-453A | 074
R-454A | R-454A |  |  | R-454A | 075
R-454B | R-454B |  |  | R-454B | 076
R-454C | R-454C |  |  | R-454C | 077
R-458A | R-458A |  |  | R-458A | 078
R-500 | R-500 |  |  | R-500 | 079
R-507 | R-507 |  |  | R-507 | 080
R-508A | R-508A |  |  | R-508A | 081
R-508B | R-508B |  |  | R-508B | 082
R-513A | R-513A |  |  | R-513A | 083
R-515B | R-515B |  |  | R-515B | 084
RS-24 (2002 formulation) | RS-24 (2002 formulation) |  |  | RS-24 (2002 formulation) | 085
RS-44 (2003 formulation) | RS-44 (2003 formulation) |  |  | RS-44 (2003 formulation) | 086
SP34E | SP34E |  |  | SP34E | 087
088
089
090
091
092
093
094
095
096
097
098
099
100