DIVISION OF WATER QUALITY

New Jersey Pollutant Discharge Elimination System (NJPDES)

NJ Department of Environmental Protection

INDIVIDUAL STORMWATER PERMITS

Bureau of Nonpoint Pollution Control

Do I Need An Individual NJPDES Stormwater Permit?

An Individual NJPDES Stormwater Permit is required for any regulated facility, with stormwater discharge(s) associated with industrial activity to surface and/or ground waters of the State (see Program Information Sheet (PIS) for Regulated Discharges and Regulated Facilities), that:

- Cannot meet the requirements, or is ineligible for the Basic Industrial Stormwater General Permit (5G2), NJG0088315;

- Does not discharge to a Combined Sewer System (CSS);

- Is ineligible for the Construction Activity General Permit (5G3);

- Is ineligible for any of the available Industry Specific General Permits; and

- Cannot demonstrate “permanent no exposure” (see NAF form).

Information about the Bureau of Nonpoint Pollution Control’s (BNPC’s) Industry Specific General Permits is located on our website at http://www.state.nj.us/dep/dwq/gp.htm.

What Is The Authority For Stormwater Permits?

Facilities are required to have a permit for stormwater discharges to surface and ground water in accordance with the Federal Clean Water Act and discharges associated with industrial activity (40 CFR 122.26).

Permit effluent limitations, non-numeric effluent limitations, monitoring requirements, Best Management

Practices (BMPs) and other conditions are authorized by the Federal Water Pollution Control Act (33 U.S.C. 1251 et seq.), and the Water Pollution Control Act (State Act; N.J.S.A. 58:10A-1 et seq).  These statutes are implemented by the National Pollutant Discharge Elimination System (NPDES) (40 CFR Part 122) and the NJPDES (N.J.A.C. 7:14A) permit programs.

What If I Believe My Facility Is Not Required To Have A Permit?

If you have a regulated facility and believe you are exempt, you must complete and submit the Nonapplicability Form (NAF) to the Bureau of Permit Management (BPM) at the address below. Once this information is received, a representative from the Department will conduct a site visit to verify the information provided on the NAF.

How Do I Apply For An Individual NJPDES Stormwater Permit?

All permittees applying for an individual NJPDES stormwater permit (DST) are required to complete the NJPDES-1 Form, as well as the Supplemental Form RF and appropriate parts of NJPDES Form R.  (Please pay close attention to Item 11 of the Supplemental Form RF including the Pollutant Analysis Summary (PAS). The PAS requires characterization of your stormwater discharges.  Stormwater samples must be collected and then analyzed by a New Jersey certified lab.

If you are applying for an individual permit to discharge stormwater to surface water solely associated with construction activity, you must complete theNJPDES-1 Form as well as the supplemental Form RFC.

All forms and further guidance on the application process are located on BNPC’s Individual Stormwater Permitting Homepage at

http://www.state.nj.us/dep/dwq/ind_storm.htm

Where Do I Send My Completed Permit Application or NAF?

New Individual Permit applications, renewal applications of Individual Permits, and Nonapplicability Forms should be sent to:

Bureau of Permit Management

New Jersey Department of

Environmental Protection

PO Box 029

Trenton, New Jersey 08625-0029

(609) 984-4428

What Are The Basic Requirements Of An Individual Permit?

Individual Permits are permits written specifically for your facility.  The basic requirements are:

Development and implementation of drainage control;

Updated 7/20/07	http://www.state.nj.us/dep/dwq/

- Preparation and implementation of a Stormwater Pollution Prevention Plan (SPPP);

- SPPP Preparation Certification to verify that the SPPP was prepared in accordance with the permit conditions;

- SPPP Preparation Implementation to verify that the SPPP was implemented in accordance with the permit conditions;

- Preparation of an annual report summarizing the findings of the annual inspection to evaluate the effectiveness of the SPPP;

- Annual Certification that the SPPP as implemented is effective for meeting the terms and conditions of the permit;

- Design and implementation of BMPs to meet design criteria and effluent limits of the permit (in some cases numeric effluent limitations may be necessary); and

- Discharge Monitoring to demonstrate the effectiveness of selected BMPs and compliance with applicable effluent limitations and reporting results on monitoring report forms (MRFs).

For more information, contact:

NJDEP

Bureau of Nonpoint Pollution Control

PO Box 029

Trenton, NJ 08625-0029

Phone: (609) 633-7021

What Is The SPPP?

The SPPP is a written plan that describes how the facility will minimize or eliminate the contact of industrial material and industrial activities from contact with stormwater.  This is generally done through the establishment of drainage control and BMPs.

What Is Drainage Control?

#### "Drainage Control" is required in all areas where there are stormwater discharges associated with industrial activity.  Drainage control can be established using diversionary structures, grading, embankments, collection systems and other similar methods to divert stormwater from the industrial area of the site to a permitted outfall.  The site may require several outfalls to establish drainage control.

How Long Do I Need The Permit ?

Individual Permits are required as long as there are stormwater discharges associated with industrial activities.  Permits are issued for five (5) years.  A renewal application must be submitted 180 days prior to the expiration date of the permit.

If the permit expires before it can be renewed, the permit remains in full force and effect.

What Happens If I Do Not Apply or Renew My Existing Individual Permit?

Discharging stormwater associated with industrial activity to surface and ground waters of the State without a valid NJPDES permit, is a violation of Federal and State law.  Inspections of regulated facilities are routinely conducted by the Department to ensure compliance with these regulations. Failure to apply, renew or otherwise file for an exemption may result in enforcement action by the Bureau of Water Compliance and Enforcement.