{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Unblock Instructions","GWMP for GW RAP","Parameters","ParametersTrueAlpha","Drop Box Options","Describe Other Schedule"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":1,"defined_names":10,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Unblock Instructions","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"GWMP for GW RAP","index":1,"n_rows":501,"n_cols":8,"rows_kept":501,"cut":false,"hidden":false,"merged":[[5,0,5,4],[6,0,6,4],[7,0,7,4],[4,0,4,4],[500,0,500,7],[2,0,2,2],[3,0,3,2],[2,3,2,5],[3,3,3,5],[0,0,0,5]]}
["Ground Water Monitoring Plan for Ground Water Remedial Action Permit  (Version 1.1;  December 04, 2023)"]
[]
["Case Name: "]
[]
["Program Interest (PI) #: "]
["Date Spreadsheet Was Last Updated: "]
["Calendar Year to Begin Sampling Under This Plan: "]
["Season With Highest Concentrations Monitoring Will Target: "]
[]
["Wells to Be Sampled ","Type of Well","Easting","Northing","Sampling\nSchedule ","Sampling\nMethod","Parameters\nfor Each Well","Comments"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["End of Formatted Cells For Data Input"]

{"sheet":"Parameters","index":2,"n_rows":223,"n_cols":7,"rows_kept":223,"cut":false,"hidden":true,"merged":[]}
["ID#","Constituent","CASRN","Ground Water Quality Criterion*","Practical Quantitation Level (PQL)*","Higher of PQL and Ground Water Quality Criterion (μg/L)*"]
[1,"CEA Contaminants of Concern + All Degradation By-Products "]
[1,"BTEX + MTBE + TBA + SOC (VOCs only)"]
[1,"BTEX + TBA + SOC (VOCs only)"]
[1,"BTEX + SOC (VOCs only)"]
[1,"Benzene + SOC (VOCs + SVOCs)"]
[1,"Benzene + SOC (VOCs only)"]
[1,"Benzene + SOC (SVOCs only)"]
[1,"PCE + All Degradation By-Products (TCE, cis-1,2-DCE, trans-1,2-DCE, 1,1-DCE, and vinyl chloride)"]
[1,"TCE + All Degradation By-Products (cis-1,2-DCE, trans-1,2-DCE, 1,1-DCE, and vinyl chloride)"]
[1,"Methyl tertiary butyl ether (MTBE) + tertiary-Butyl alcohol (TBA) [Degradation By-Product]"]
[1,"Volatile Organics"]
[2,"BTEX"]
[3,"Chlorinated Organics"]
[4,"Base Neutrals"]
[5,"Polyaromatic Hydrocarbons (PAHs)"]
[6,"SOC (VOCs+SVOCs)",null,null,null,5]
[7,"SOC (VOCs only)",null,null,null,25]
[8,"SOC (SVOCs only)",null,null,null,100]
[10,"Free Product",null,null,null,"Sheen Policy","Volatile Organics"]
[11,"Metals"]
[12,"----------------------------------"]
[13,"Depth to Water Table from Top of Inner Well Casing (ft)"]
[14,"----------------------------------"]
[15,"Acenaphthene","83-32-9",400,10,400]
[16,"Acetone","67-64-1",6000,10,6000]
[17,"Acetophenone","98-86-2",700,10,700]
[18,"Acrolein","107-02-8",4,5,5]
[19,"Acrylamide","79-06-1",8.0000000000000002E-3,0.2,0.2]
[20,"Acrylonitrile","107-13-1",0.06,2,2]
[21,"Adipates (Di(2-ethylhexyl)adipate) (DEHA)","103-23-1",30,3,30]
[22,"Alachlor","15972-60-8",0.4,0.1,0.4]
[23,"Aldicarb sulfone","1646-88-4",7,0.3,7]
[24,"Aldrin","309-00-2",2E-3,0.04,0.04]
[25,"Aluminum","7429-90-5",200,30,200]
[26,"Ammonia (Total)","7664-41-7",3000,200,3000]
[27,"Aniline","62-53-3",6,2,6]
[28,"Anthracene","120-12-7",2000,10,2000]
[29,"Antimony (Total)","7440-36-0",6,3,6]
[30,"Arsenic (Total)","7440-38-2",0.02,3,3]
[31,"Asbestos","1332-21-4","7X106f/L>10uma","106f/L>10uma","7X106f/L>10uma"]
[32,"Atrazine","1912-24-9",3,0.1,3]
[33,"Barium","7440-39-3",2000,200,2000]
[34,"Benz(a)anthracene","56-55-3",0.05,0.1,0.1]
[35,"Benzene","71-43-2",0.2,1,1]
[36,"Benzidine","92-87-5",2.0000000000000001E-4,20,20]
[37,"Benzo(a)pyrene (BaP)","50-32-8",5.0000000000000001E-3,0.1,0.1]
[38,"Benzo(b)fluoranthene (3,4-Benzofluoranthene)","205-99-2",0.05,0.2,0.2]
[39,"Benzo(k)fluoranthene","207-08-9",0.5,0.3,0.5]
[40,"Benzoic acid","65-85-0",30000,50,30000]
[41,"Benzyl alcohol","100-51-6",2000,20,2000]
[42,"Beryllium","7440-41-7",1,1,1]
[43,"alpha-BHC- (alpha-HCH)","319-84-6",6.0000000000000001E-3,0.02,0.02]
[44,"beta-BHC (beta-HCH)","319-85-7",0.02,0.04,0.04]
[45,"gamma-BHC (gamma-HCH/Lindane)","58-89-9",0.03,0.02,0.03]
[46,"1,1-Biphenyl","92-52-4",400,10,400]
[47,"Bis(2-chloroethyl) ether","111-44-4",0.03,7,7]
[48,"Bis(2-chloroisopropyl) ether","108-60-1",300,10,300]
[49,"Bis(2-ethylhexyl) phthalate (DEHP)","117-81-7",2,3,3]
[50,"Bromodichloromethane (Dichlorobromomethane)","75-27-4",0.6,1,1]
[51,"Bromoform","75-25-2",4,0.8,4]
[52,"n-Butanol (n-Butyl alcohol)","71-36-3",700,20,700]
[53,"tertiary-Butyl alcohol (TBA)","75-65-0",100,2,100]
[54,"Butylbenzyl phthalate","85-68-7",100,1,100]
[55,"Cadmium","7440-43-9",4,0.5,4]
[56,"Camphor","76-22-2",1000,0.5,1000]
[57,"Carbofuran","1563-66-2",40,0.5,40]
[58,"Carbon disulfide","75-15-0",700,1,700]
[59,"Carbon tetrachloride","56-23-5",0.4,1,1]
[60,"Chlordane","57-74-9",0.01,0.5,0.5]
[61,"Chloride","16887-00-6",250000,2000,250000]
[62,"4-Chloroaniline (p-Chloroaniline)","106-47-8",30,10,30]
[63,"Chlorobenzene (Monochlorobenzene)","108-90-7",50,1,50]
[64,"Chloroform","67-66-3",70,1,70]
[65,"2-Chloronaphthalene","91-58-7",600,10,600]
[66,"2-Chlorophenol","95-57-8",40,20,40]
[null,"Chloroperfluoropolyether carboxylates (ClPFPECAs)"]
[67,"Chlorpyrifos","2921-88-2",20,0.1,20]
[null,"Chromium (Hexavalent)","18540-29-9"]
[68,"Chromium (Total)","7440-47-3",70,1,70]
[69,"Chrysene","218-01-9",5,0.2,5]
[70,"Color","-","10 CU","5 CU","10 CU"]
[71,"Copper","7440-50-8",1300,4,1300]
[72,"Cumene (Isopropyl benzene)","98-82-8",700,1,700]
[73,"Cyanide (free Cyanide)","57-12-5",100,6,100]
[74,"2,4-D (2,4-Dichlorophenoxyacetic acid)","94-75-7",70,2,70]
[75,"Dalapon (2,2-Dichloropropionic acid)","75-99-0",200,0.1,200]
[76,"4,4'-DDD (p,p'-TDE)","72-54-8",0.1,0.02,0.1]
[77,"4,4'-DDE","72-55-9",0.1,0.01,0.1]
[78,"4,4'-DDT","50-29-3",0.1,0.1,0.1]
[79,"Demeton","8065-48-3",0.3,1,1]
[80,"Dibenz(a,h)anthracene","53-70-3",5.0000000000000001E-3,0.3,0.3]
[81,"Dibromochloromethane (Chlorodibromomethane)","124-48-1",0.4,1,1]
[82,"1,2-Dibromo-3-chloropropane (DBCP)","96-12-8",0.02,0.02,0.02]
[83,"Di-n-butyl phthalate","84-74-2",700,1,700]
[84,"1,2-Dichlorobenzene (ortho)","95-50-1",600,5,600]
[85,"1,3-Dichlorobenzene (meta)","541-73-1",600,5,600]
[86,"1,4-Dichlorobenzene (para)","106-46-7",75,5,75]
[87,"3,3-Dichlorobenzidine","91-94-1",0.08,30,30]
[88,"Dichlorodifluoromethane (Freon 12)","75-71-8",1000,2,1000]
[89,"1,1-Dichloroethane (1,1-DCA)","75-34-3",50,1,50]
[90,"1,2-Dichloroethane","107-06-2",0.3,2,2]
[91,"1,1-Dichloroethylene (1,1-DCE)","75-35-4",1,1,1]
[92,"cis-1,2-Dichloroethylene","156-59-2",70,1,70]
[93,"trans-1,2-Dichloroethylene","156-60-5",100,1,100]
[94,"2,4-Dichlorophenol (DCP)","120-83-2",20,10,20]
[95,"1,2-Dichloropropane","78-87-5",0.5,1,1]
[96,"1,3-Dichloropropene (cis and trans)","542-75-6",0.4,1,1]
[97,"Dieldrin","60-57-1",2E-3,0.03,0.03]
[98,"Diethyl phthalate","84-66-2",6000,1,6000]
[99,"Diisodecyl phthalate (DIDP)","26761-40-0",100,3,100]
[100,"Diisopropyl ether (DIPE)","108-20-3",20000,5,20000]
[101,"2,4-Dimethyl phenol","105-67-9",100,20,100]
[102,"2,4-Dinitrophenol","51-28-5",10,40,40]
[103,"2,4-Dinitrotoluene/2,6-Dinitrotoluene Mix","25321-14-6",0.05,10,10]
[104,"Di-n-octyl phthalate","117-84-0",100,10,100]
[105,"Dinoseb","88-85-7",7,2,7]
[null,"1,4-Dioxane"]
[106,"Diphenylamine","122-39-4",200,20,200]
[107,"1,2-Diphenylhydrazine","122-66-7",0.04,20,20]
[108,"Diquat","85-00-7",20,2,20]
[109,"Endosulfan (alpha and beta)","115-29-7",40,0.1,40]
[110,"alpha-Endosulfan (Endosulfan I)","959-98-8",40,0.02,40]
[111,"beta-Endosulfan (Endosulfan II)","33213-65-9",40,0.04,40]
[112,"Endosulfan sulfate","1031-07-8",40,0.02,40]
[113,"Endothall","145-73-3",100,60,100]
[114,"Endrin","72-20-8",2,0.03,2]
[115,"Epichlorohydrin","106-89-8",4,5,5]
[116,"Ethion","563-12-2",4,0.5,4]
[117,"Ethyl acetate","141-78-6",6000,10,6000]
[118,"Ethylbenzene","100-41-4",700,2,700]
[119,"Ethylene dibromide (1,2-Dibromoethane)","106-93-4",4.0000000000000002E-4,0.03,0.03]
[120,"Ethylene glycol","107-21-1",300,200,300]
[121,"Ethylene glycol monomethyl ether","109-86-4",7,20000,20000]
[122,"Ethyl ether","60-29-7",1000,50,1000]
[123,"Fluoranthene","206-44-0",300,10,300]
[124,"Fluorene","86-73-7",300,1,300]
[125,"Fluoride","7782-41-4",2000,500,2000]
[126,"Foaming agents (ABS/LAS)","-",500,0.5,500]
[127,"Formaldehyde","50-00-0",100,30,100]
[128,"Glyphosate","1071-83-6",700,30,700]
[129,"Hardness (as CaCO3)","-",250000,10000,250000]
[130,"Heptachlor","76-44-8",8.0000000000000002E-3,0.05,0.05]
[131,"Heptachlor epoxide","1024-57-3",4.0000000000000001E-3,0.2,0.2]
[132,"Hexachlorobenzene","118-74-1",0.02,0.02,0.02]
[133,"Hexachlorobutadiene","87-68-3",0.4,1,1]
[134,"Hexachlorocyclopentadiene","77-47-4",40,0.5,40]
[135,"Hexachloroethane","67-72-1",2,7,7]
[null,"Hexafluoropropylene oxide dimer acid (HFPO-DA) and its ammonium salt (GenX)"]
[136,"Hexane (n-Hexane)","110-54-3",30,5,30]
[137,"Indeno (1,2,3-cd)pyrene","193-39-5",0.05,0.2,0.2]
[138,"Iron","7439-89-6",300,20,300]
[139,"Isophorone","78-59-1",40,10,40]
[140,"Lead (Total)","7439-92-1",5,5,5]
[141,"Malathion","121-75-5",100,0.6,100]
[142,"Manganese","7439-96-5",50,0.4,50]
[143,"Mercury (Total)","7439-97-6",2,0.05,2]
[144,"Methanol","67-56-1",4000,70,4000]
[145,"Methoxychlor","72-43-5",40,0.1,40]
[146,"Methyl acetate","79-20-9",7000,0.5,7000]
[147,"Methyl bromide (Bromomethane)","74-83-9",10,1,10]
[148,"Methylene chloride","75-09-2",3,1,3]
[149,"Methyl ethyl ketone (2-Butanone) (MEK)","78-93-3",300,2,300]
[150,"Methyl Salicylate","119-36-8",4000,50,4000]
[151,"Methyl tertiary butyl ether (MTBE)","1634-04-4",70,1,70]
[152,"Mirex","2385-85-5",0.1,0.08,0.1]
[153,"Molybdenum","7439-98-7",40,2,40]
[154,"Naphthalene","91-20-3",300,2,300]
[155,"Nickel (Soluble salts)","7440-02-0",100,4,100]
[156,"Nitrate","14797-55-8",10000,100,10000]
[157,"Nitrite","14797-65-0",1000,10,1000]
[158,"Nitrate and Nitrite","-",10000,10,10000]
[159,"Nitrobenzene","98-95-3",4,6,6]
[160,"N-Nitrosodimethylamine","62-75-9",6.9999999999999999E-4,0.8,0.8]
[161,"N-Nitrosodiphenylamine","86-30-6",7,10,10]
[162,"N-Nitrosodi-n-propylamine (Di-n-propylnitrosamine)","621-64-7",5.0000000000000001E-3,10,10]
[163,"Odor","-","3b","NA","3b"]
[164,"Oil & Grease & Petroleum Hydrocarbons","-","None Noticeable","NA","None Noticeable"]
[165,"Oxamyl","23135-22-0",200,1,200]
[166,"Parathion","56-38-2",4,0.08,4]
[167,"PBBs (Polybrominated biphenyls)","67774-32-7",4.0000000000000001E-3,1E-3,4.0000000000000001E-3]
[168,"PCBs (Polychlorinated biphenyls)","1336-36-3",0.02,0.5,0.5]
[169,"Pentachlorophenol","87-86-5",0.3,0.1,0.3]
[null,"Perchlorate"]
[null,"Perfluorononanoic acid (PFNA)"]
[null,"Perfluorooctanoic acid (PFOA)"]
[null,"Perfluorooctanesulfonic acid (PFOS)"]
[170,"pH","-","6.5-8.5","NA","6.5-8.5"]
[171,"Phenol","108-95-2",2000,10,2000]
[172,"Picloram","1918-02-01",500,1,500]
[173,"Pyrene","129-00-0",200,0.1,200]
[174,"Salicylic acid","69-72-7",80,30,80]
[175,"Selenium (Total)","7782-49-2",40,4,40]
[176,"Silver","7440-22-4",40,1,40]
[177,"Simazine","122-34-9",0.3,0.8,0.8]
[178,"Sodium","7440-23-5",50000,400,50000]
[179,"Styrene","100-42-5",100,2,100]
[180,"Sulfate","14808-79-8",250000,5000,250000]
[181,"Taste","-","None Objectionable","NA","None Objectionable"]
[182,"TDS (Total dissolved solids)","-",500000,10000,500000]
[183,"2,3,7,8-Tetrachlorodibenzo-p-dioxin (TCDD)","1746-01-6",1.9999999999999999E-7,1.0000000000000001E-5,1.0000000000000001E-5]
[184,"1,1,1,2-Tetrachloroethane","630-20-6",1,1,1]
[185,"1,1,2,2-Tetrachloroethane","79-34-5",1,1,1]
[186,"Tetrachloroethylene (PCE)","127-18-4",0.4,1,1]
[187,"2,3,4,6-Tetrachlorophenol","58-90-2",200,3,200]
[188,"Tetrahydrofuran","109-99-9",10,10,10]
[189,"Thallium","7440-28-0",0.5,2,2]
[190,"Toluene","108-88-3",1000,1,1000]
[191,"Toxaphene","8001-35-2",0.03,2,2]
[192,"2,4,5-TP (2-(2,4,5-Trichlorophenoxy)propionic acid)","93-72-1",60,0.6,60]
[193,"1,2,4-Trichlorobenzene","120-82-1",9,1,9]
[194,"1,1,1-Trichloroethane (TCA)","71-55-6",30,1,30]
[195,"1,1,2-Trichloroethane","79-00-5",3,2,3]
[196,"Trichloroethene (TCE)","79-01-6",1,1,1]
[197,"Trichlorofluoromethane (Freon 11)","75-69-4",2000,1,2000]
[198,"2,4,5-Trichlorophenol","95-95-4",700,10,700]
[199,"2,4,6-Trichlorophenol","88-06-2",1,20,20]
[200,"1,2,3-Trichloropropane","96-18-4",5.0000000000000001E-3,0.03,0.03]
[201,"Vanadium pentoxide","1314-62-1",60,1,60]
[202,"Vinyl acetate","108-05-4",7000,5,7000]
[203,"Vinyl chloride","75-01-4",0.08,1,1]
[204,"Xylenes (Total)","1330-20-7",1000,2,1000]
[205,"Zinc","7440-66-6",2000,10,2000]

{"sheet":"ParametersTrueAlpha","index":3,"n_rows":207,"n_cols":6,"rows_kept":207,"cut":false,"hidden":true,"merged":[]}
["ID#","Constituent","CASRN","Ground Water Quality Criterion*","Practical Quantitation Level (PQL)*","Higher of PQL and Ground Water Quality Criterion (μg/L)*"]
[12,"----------------------------------"]
[14,"----------------------------------"]
[184,"1,1,1,2-Tetrachloroethane","630-20-6",1,1,1]
[194,"1,1,1-Trichloroethane (TCA)","71-55-6",30,1,30]
[185,"1,1,2,2-Tetrachloroethane","79-34-5",1,1,1]
[195,"1,1,2-Trichloroethane","79-00-5",3,2,3]
[46,"1,1-Biphenyl","92-52-4",400,10,400]
[89,"1,1-Dichloroethane (1,1-DCA)","75-34-3",50,1,50]
[91,"1,1-Dichloroethylene (1,1-DCE)","75-35-4",1,1,1]
[200,"1,2,3-Trichloropropane","96-18-4",5.0000000000000001E-3,0.03,0.03]
[193,"1,2,4-Trichlorobenzene","120-82-1",9,1,9]
[82,"1,2-Dibromo-3-chloropropane (DBCP)","96-12-8",0.02,0.02,0.02]
[84,"1,2-Dichlorobenzene (ortho)","95-50-1",600,5,600]
[90,"1,2-Dichloroethane","107-06-2",0.3,2,2]
[95,"1,2-Dichloropropane","78-87-5",0.5,1,1]
[107,"1,2-Diphenylhydrazine","122-66-7",0.04,20,20]
[85,"1,3-Dichlorobenzene (meta)","541-73-1",600,5,600]
[96,"1,3-Dichloropropene (cis and trans)","542-75-6",0.4,1,1]
[86,"1,4-Dichlorobenzene (para)","106-46-7",75,5,75]
[187,"2,3,4,6-Tetrachlorophenol","58-90-2",200,3,200]
[183,"2,3,7,8-Tetrachlorodibenzo-p-dioxin (TCDD)","1746-01-6",1.9999999999999999E-7,1.0000000000000001E-5,1.0000000000000001E-5]
[192,"2,4,5-TP (2-(2,4,5-Trichlorophenoxy)propionic acid)","93-72-1",60,0.6,60]
[198,"2,4,5-Trichlorophenol","95-95-4",700,10,700]
[199,"2,4,6-Trichlorophenol","88-06-2",1,20,20]
[74,"2,4-D (2,4-Dichlorophenoxyacetic acid)","94-75-7",70,2,70]
[94,"2,4-Dichlorophenol (DCP)","120-83-2",20,10,20]
[101,"2,4-Dimethyl phenol","105-67-9",100,20,100]
[102,"2,4-Dinitrophenol","51-28-5",10,40,40]
[103,"2,4-Dinitrotoluene/2,6-Dinitrotoluene Mix","25321-14-6",0.05,10,10]
[65,"2-Chloronaphthalene","91-58-7",600,10,600]
[66,"2-Chlorophenol","95-57-8",40,20,40]
[87,"3,3-Dichlorobenzidine","91-94-1",0.08,30,30]
[76,"4,4'-DDD (p,p'-TDE)","72-54-8",0.1,0.02,0.1]
[77,"4,4'-DDE","72-55-9",0.1,0.01,0.1]
[78,"4,4'-DDT","50-29-3",0.1,0.1,0.1]
[62,"4-Chloroaniline (p-Chloroaniline)","106-47-8",30,10,30]
[15,"Acenaphthene","83-32-9",400,10,400]
[16,"Acetone","67-64-1",6000,10,6000]
[17,"Acetophenone","98-86-2",700,10,700]
[18,"Acrolein","107-02-8",4,5,5]
[19,"Acrylamide","79-06-1",8.0000000000000002E-3,0.2,0.2]
[20,"Acrylonitrile","107-13-1",0.06,2,2]
[21,"Adipates (Di(2-ethylhexyl)adipate) (DEHA)","103-23-1",30,3,30]
[22,"Alachlor","15972-60-8",0.4,0.1,0.4]
[23,"Aldicarb sulfone","1646-88-4",7,0.3,7]
[24,"Aldrin","309-00-2",2E-3,0.04,0.04]
[43,"alpha-BHC- (alpha-HCH)","319-84-6",6.0000000000000001E-3,0.02,0.02]
[110,"alpha-Endosulfan (Endosulfan I)","959-98-8",40,0.02,40]
[25,"Aluminum","7429-90-5",200,30,200]
[26,"Ammonia (Total)","7664-41-7",3000,200,3000]
[27,"Aniline","62-53-3",6,2,6]
[28,"Anthracene","120-12-7",2000,10,2000]
[29,"Antimony (Total)","7440-36-0",6,3,6]
[30,"Arsenic (Total)","7440-38-2",0.02,3,3]
[31,"Asbestos","1332-21-4","7X106f/L>10uma","106f/L>10uma","7X106f/L>10uma"]
[32,"Atrazine","1912-24-9",3,0.1,3]
[33,"Barium","7440-39-3",2000,200,2000]
[4,"Base Neutrals"]
[34,"Benz(a)anthracene","56-55-3",0.05,0.1,0.1]
[35,"Benzene","71-43-2",0.2,1,1]
[36,"Benzidine","92-87-5",2.0000000000000001E-4,20,20]
[37,"Benzo(a)pyrene (BaP)","50-32-8",5.0000000000000001E-3,0.1,0.1]
[38,"Benzo(b)fluoranthene (3,4-Benzofluoranthene)","205-99-2",0.05,0.2,0.2]
[39,"Benzo(k)fluoranthene","207-08-9",0.5,0.3,0.5]
[40,"Benzoic acid","65-85-0",30000,50,30000]
[41,"Benzyl alcohol","100-51-6",2000,20,2000]
[42,"Beryllium","7440-41-7",1,1,1]
[44,"beta-BHC (beta-HCH)","319-85-7",0.02,0.04,0.04]
[111,"beta-Endosulfan (Endosulfan II)","33213-65-9",40,0.04,40]
[47,"Bis(2-chloroethyl) ether","111-44-4",0.03,7,7]
[48,"Bis(2-chloroisopropyl) ether","108-60-1",300,10,300]
[49,"Bis(2-ethylhexyl) phthalate (DEHP)","117-81-7",2,3,3]
[50,"Bromodichloromethane (Dichlorobromomethane)","75-27-4",0.6,1,1]
[51,"Bromoform","75-25-2",4,0.8,4]
[2,"BTEX"]
[54,"Butylbenzyl phthalate","85-68-7",100,1,100]
[55,"Cadmium","7440-43-9",4,0.5,4]
[56,"Camphor","76-22-2",1000,0.5,1000]
[57,"Carbofuran","1563-66-2",40,0.5,40]
[58,"Carbon disulfide","75-15-0",700,1,700]
[59,"Carbon tetrachloride","56-23-5",0.4,1,1]
[60,"Chlordane","57-74-9",0.01,0.5,0.5]
[61,"Chloride","16887-00-6",250000,2000,250000]
[3,"Chlorinated Organics"]
[63,"Chlorobenzene (Monochlorobenzene)","108-90-7",50,1,50]
[64,"Chloroform","67-66-3",70,1,70]
[67,"Chlorpyrifos","2921-88-2",20,0.1,20]
[null,"Chromium (Hexavalent)","18540-29-9"]
[68,"Chromium (Total)","7440-47-3",70,1,70]
[69,"Chrysene","218-01-9",5,0.2,5]
[92,"cis-1,2-Dichloroethylene","156-59-2",70,1,70]
[70,"Color","-","10 CU","5 CU","10 CU"]
[71,"Copper","7440-50-8",1300,4,1300]
[72,"Cumene (Isopropyl benzene)","98-82-8",700,1,700]
[73,"Cyanide (free Cyanide)","57-12-5",100,6,100]
[75,"Dalapon (2,2-Dichloropropionic acid)","75-99-0",200,0.1,200]
[79,"Demeton","8065-48-3",0.3,1,1]
[13,"Depth to Water Table from Top of Inner Well Casing (ft)"]
[80,"Dibenz(a,h)anthracene","53-70-3",5.0000000000000001E-3,0.3,0.3]
[81,"Dibromochloromethane (Chlorodibromomethane)","124-48-1",0.4,1,1]
[88,"Dichlorodifluoromethane (Freon 12)","75-71-8",1000,2,1000]
[97,"Dieldrin","60-57-1",2E-3,0.03,0.03]
[98,"Diethyl phthalate","84-66-2",6000,1,6000]
[99,"Diisodecyl phthalate (DIDP)","26761-40-0",100,3,100]
[100,"Diisopropyl ether (DIPE)","108-20-3",20000,5,20000]
[83,"Di-n-butyl phthalate","84-74-2",700,1,700]
[104,"Di-n-octyl phthalate","117-84-0",100,10,100]
[105,"Dinoseb","88-85-7",7,2,7]
[106,"Diphenylamine","122-39-4",200,20,200]
[108,"Diquat","85-00-7",20,2,20]
[109,"Endosulfan (alpha and beta)","115-29-7",40,0.1,40]
[112,"Endosulfan sulfate","1031-07-8",40,0.02,40]
[113,"Endothall","145-73-3",100,60,100]
[114,"Endrin","72-20-8",2,0.03,2]
[115,"Epichlorohydrin","106-89-8",4,5,5]
[116,"Ethion","563-12-2",4,0.5,4]
[117,"Ethyl acetate","141-78-6",6000,10,6000]
[122,"Ethyl ether","60-29-7",1000,50,1000]
[118,"Ethylbenzene","100-41-4",700,2,700]
[119,"Ethylene dibromide (1,2-Dibromoethane)","106-93-4",4.0000000000000002E-4,0.03,0.03]
[120,"Ethylene glycol","107-21-1",300,200,300]
[121,"Ethylene glycol monomethyl ether","109-86-4",7,20000,20000]
[123,"Fluoranthene","206-44-0",300,10,300]
[124,"Fluorene","86-73-7",300,1,300]
[125,"Fluoride","7782-41-4",2000,500,2000]
[126,"Foaming agents (ABS/LAS)","-",500,0.5,500]
[127,"Formaldehyde","50-00-0",100,30,100]
[10,"Free Product",null,null,null,"Sheen Policy"]
[45,"gamma-BHC (gamma-HCH/Lindane)","58-89-9",0.03,0.02,0.03]
[128,"Glyphosate","1071-83-6",700,30,700]
[129,"Hardness (as CaCO3)","-",250000,10000,250000]
[130,"Heptachlor","76-44-8",8.0000000000000002E-3,0.05,0.05]
[131,"Heptachlor epoxide","1024-57-3",4.0000000000000001E-3,0.2,0.2]
[132,"Hexachlorobenzene","118-74-1",0.02,0.02,0.02]
[133,"Hexachlorobutadiene","87-68-3",0.4,1,1]
[134,"Hexachlorocyclopentadiene","77-47-4",40,0.5,40]
[135,"Hexachloroethane","67-72-1",2,7,7]
[136,"Hexane (n-Hexane)","110-54-3",30,5,30]
[137,"Indeno (1,2,3-cd)pyrene","193-39-5",0.05,0.2,0.2]
[138,"Iron","7439-89-6",300,20,300]
[139,"Isophorone","78-59-1",40,10,40]
[140,"Lead (Total)","7439-92-1",5,5,5]
[141,"Malathion","121-75-5",100,0.6,100]
[142,"Manganese","7439-96-5",50,0.4,50]
[143,"Mercury (Total)","7439-97-6",2,0.05,2]
[11,"Metals"]
[144,"Methanol","67-56-1",4000,70,4000]
[145,"Methoxychlor","72-43-5",40,0.1,40]
[146,"Methyl acetate","79-20-9",7000,0.5,7000]
[147,"Methyl bromide (Bromomethane)","74-83-9",10,1,10]
[149,"Methyl ethyl ketone (2-Butanone) (MEK)","78-93-3",300,2,300]
[150,"Methyl Salicylate","119-36-8",4000,50,4000]
[151,"Methyl tertiary butyl ether (MTBE)","1634-04-4",70,1,70]
[148,"Methylene chloride","75-09-2",3,1,3]
[152,"Mirex","2385-85-5",0.1,0.08,0.1]
[153,"Molybdenum","7439-98-7",40,2,40]
[154,"Naphthalene","91-20-3",300,2,300]
[52,"n-Butanol (n-Butyl alcohol)","71-36-3",700,20,700]
[155,"Nickel (Soluble salts)","7440-02-0",100,4,100]
[156,"Nitrate","14797-55-8",10000,100,10000]
[158,"Nitrate and Nitrite","-",10000,10,10000]
[157,"Nitrite","14797-65-0",1000,10,1000]
[159,"Nitrobenzene","98-95-3",4,6,6]
[160,"N-Nitrosodimethylamine","62-75-9",6.9999999999999999E-4,0.8,0.8]
[162,"N-Nitrosodi-n-propylamine (Di-n-propylnitrosamine)","621-64-7",5.0000000000000001E-3,10,10]
[161,"N-Nitrosodiphenylamine","86-30-6",7,10,10]
[163,"Odor","-","3b","NA","3b"]
[164,"Oil & Grease & Petroleum Hydrocarbons","-","None Noticeable","NA","None Noticeable"]
[165,"Oxamyl","23135-22-0",200,1,200]
[166,"Parathion","56-38-2",4,0.08,4]
[167,"PBBs (Polybrominated biphenyls)","67774-32-7",4.0000000000000001E-3,1E-3,4.0000000000000001E-3]
[168,"PCBs (Polychlorinated biphenyls)","1336-36-3",0.02,0.5,0.5]
[169,"Pentachlorophenol","87-86-5",0.3,0.1,0.3]
[170,"pH","-","6.5-8.5","NA","6.5-8.5"]
[171,"Phenol","108-95-2",2000,10,2000]
[172,"Picloram","1918-02-01",500,1,500]
[5,"Polyaromatic Hydrocarbons (PAHs)"]
[173,"Pyrene","129-00-0",200,0.1,200]
[174,"Salicylic acid","69-72-7",80,30,80]
[175,"Selenium (Total)","7782-49-2",40,4,40]
[176,"Silver","7440-22-4",40,1,40]
[177,"Simazine","122-34-9",0.3,0.8,0.8]
[6,"SOC (carcinogenic/individual)",null,null,null,5]
[7,"SOC (carcinogenic/total)",null,null,null,25]
[8,"SOC (non-carcinogenic/individual)",null,null,null,100]
[9,"SOC (non-carcinogenic/total)",null,null,null,500]
[178,"Sodium","7440-23-5",50000,400,50000]
[179,"Styrene","100-42-5",100,2,100]
[180,"Sulfate","14808-79-8",250000,5000,250000]
[181,"Taste","-","None Objectionable","NA","None Objectionable"]
[182,"TDS (Total dissolved solids)","-",500000,10000,500000]
[53,"tertiary-Butyl alcohol (TBA)","75-65-0",100,2,100]
[186,"Tetrachloroethylene (PCE)","127-18-4",0.4,1,1]
[188,"Tetrahydrofuran","109-99-9",10,10,10]
[189,"Thallium","7440-28-0",0.5,2,2]
[190,"Toluene","108-88-3",1000,1,1000]
[191,"Toxaphene","8001-35-2",0.03,2,2]
[93,"trans-1,2-Dichloroethylene","156-60-5",100,1,100]
[196,"Trichloroethene (TCE)","79-01-6",1,1,1]
[197,"Trichlorofluoromethane (Freon 11)","75-69-4",2000,1,2000]
[201,"Vanadium pentoxide","1314-62-1",60,1,60]
[202,"Vinyl acetate","108-05-4",7000,5,7000]
[203,"Vinyl chloride","75-01-4",0.08,1,1]
[1,"Volatile Organics"]
[204,"Xylenes (Total)","1330-20-7",1000,2,1000]
[205,"Zinc","7440-66-6",2000,10,2000]

{"sheet":"Drop Box Options","index":4,"n_rows":10,"n_cols":7,"rows_kept":10,"cut":false,"hidden":true,"merged":[]}
["Sampling Schedule","Sampliing Method",null,"Well Type","Description","Season","Sampling schedule"]
["Monthly","Volume Averaged",null,"Area of Concern","Located within source area","Spring","Monthly"]
["Quarterly","Low-Flow",null,"Plume Sampling Point","Beyond source area, but within dissolved plume","Summer","Quarterly"]
["Semi-Annually","Passive Diffusion Bag",null,"Plume Fringe","Downgradient delineated extent of dissolved plume","Fall","Semi-Annually"]
["Annually","Flute/Multi-Port",null,"Sentinel","Pursuant to N.J.A.C. 7:26E-6.3(e)1i(4)","Winter","Annualy"]
["Biennially","Pore Water",null,"Potable",null,"N/A","Biennially"]
["At the expiration of the CEA","Surface Water",null,"Irrigation",null,null,"Every four years"]
["MNA Guidance Table 4","Other",null,"Hydrostatic",null,null,"Every six years"]
["Other",null,null,null,null,null,"Every eight years"]
[null,null,null,null,null,null,"At the expiration of the CEA"]

{"sheet":"Describe Other Schedule","index":5,"n_rows":501,"n_cols":3,"rows_kept":501,"cut":false,"hidden":false,"merged":[[0,0,0,2],[500,0,500,2]]}
["     Describe \"Other\" Sampling Schedule"]
["Year Range","Sampling Schedule","Comments"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["End of Formatted Cells For Data Input "]