## Sheet1
BSDW - 104 Revised 05/2014 |  |  |  | Monthly Membrane Turbidity Monitoring
New Jersey Department of Environmental Protection
Division on Water Supply and Geoscience - Bureau of Safe Drinking Water
Facility Name
PWSID No. | [5 empty] | Facility ID
Reporting Period | [5 empty] | TP #
Check here if the maximum turbidity exceeded 0.15 NTU anytime this month
| Membrane No. __ |  |  | Membrane No. __ |  |  | Membrane No. __ |  |  | Membrane No. __
Date | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
| Membrane No. __ |  |  | Membrane No. __ |  |  | Membrane No. __ |  |  | Membrane No. __
Date | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded | Total Hours Filtered | Maximum Turbidity (NTU) | No. of Hours Results were recorded
23
24
25
26
27
28
29
30
31
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Results Exceeding 0.15 NTU
| Membrane Number | Date | Time | Maximum Turbidity (NTU) | Duration (0.1 hrs) |  | Membrane Number | Date | Time | Maximum Turbidity (NTU) | Duration (0.1 hrs)
If the membrane unit exceeded 0.15 NTU in two consecutive measurements taken 15 minutes apart, membrane units must be immediately taken offline for direct integrity testing and Section C of BSDW - 103 must be completed.
I certify that individual filter turbidity monitoring has been conducted in accordance with 40 CFR 141.174
Signature of Licensed Operator |  |  |  | Print Name |  |  |  | License # |  |  | Date
This form is available online at www.state.nj.us/dep/watersupply